| Title | Manage the planning, operation and maintenance of an irrigation system |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 25 |

| Purpose | People credited with this unit standard are able to: develop a site-specific operation and maintenance plan for an irrigation system; and manage the operation and maintenance of an irrigation system. |
| --- | --- |

| Classification | Water Industry > Irrigation |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation and the policy statement relevant to this unit standard include but are not limited to:

- Building Act 2004;

- Health and Safety at Work Act 2015;

- Resource Management Act 1991;

- National Policy Statement for Freshwater Management 2014;

and any subsequent amendments.

- For the purposes of assessment:

- evidence for this unit standard must be performed on two separate commercial irrigation systems.

- the irrigation system performance assessment is for an agricultural or horticultural property, sports turf, or public ground.

- evidence for all outcomes must be presented in accordance with New Zealand Piped Irrigation System Performance Assessment Code of Practice; New Zealand Water Measurement Code of Practice; and Irrigation New Zealand Technical Glossary; available from the Irrigation New Zealand website, http://irrigationnz.co.nz/.

Outcomes and performance criteria

Outcome 1

Develop a site-specific operation and maintenance plan for an irrigation system.

Performance criteria

  - Develop procedures to operate an irrigation system on a specific site.

Range	procedures may include but are not limited to – health and safety, start up, shut down, reporting and other operational steps.

  - Develop a routine maintenance schedule for the operation of an irrigation system.

Outcome 2

Manage the operation and maintenance of an irrigation system.

Performance criteria

2.1	Confirm pre-season checks and system calibration are carried out and recorded.

2.2	Confirm operational tasks and maintenance on the irrigation system are carried out and recorded.

2.3	Record and report irrigation activities to meet compliance.

Range		irrigation activities include – irrigation events, maintenance activities, and incident reports.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 August 2015 | 31 December 2022 |
| Review | 2 | 27 February 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0179 |
| --- | --- |

Comments on this unit standard

Please contact the Primary Industry Training Organisation standards@primaryito.ac.nz if you wish to suggest changes to the content of this unit standard.