| Title | Plan and carry out maintenance on transmission grid assets |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to: - plan and carry out maintenance on transmission grid assets; - identify and apply earthing and bonding to lines and equipment before maintenance of transmission assets is undertaken; and - carry out corrective maintenance to electricity structures. This unit standard partially fulfils the requirements for registration for transmission line mechanics with the Electrical Workers Registration Board (EWRB). |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Transmission Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- This unit standard underpins one of two capstone assessments for registration with the EWRB for transmission line mechanics in the electricity supply industry.

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

- Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the:

- Health and Safety at Work Act 2015; Electricity Act 1992;

- Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements;

- Electricity supply industry codes of practice and documented enterprise procedures, including Electrical Engineers’ Association Safety Manual – Electricity Industry (SM-EI) (current version) and relevant EEA guides available at www.eea.co.nz.

4	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner procedures; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, and business and quality management requirements relevant to the workplace in which assessment is carried out.

Outcomes and performance criteria

Outcome 1

Plan and carry out maintenance on transmission grid assets.

Performance criteria

1.1	Worksite safety plan is completed prior to work being undertaken.

1.2	Safety plan is implemented according to asset owner procedures.

1.3	Ropes, slings, and knots are used to replace tower components or lines according to asset owner procedures.

Range		may include but is not limited to – lines, insulators, tower steel work, hardware;

evidence of two replacements is required.

Outcome 2

Identify and apply earthing and bonding to lines and equipment before maintenance of transmission assets is undertaken.

Performance criteria

2.1	Earthing and bonding requirements for worksite are identified.

2.2	Test lines are de-energised before applying portable earths.

2.3	Portable earthing and bonding is applied.

2.4	Portable earthing and bonding equipment is removed on completion of work according to asset owner procedures.

Outcome 3

Carry out corrective maintenance to structures.

Range	may include but is not limited to – steelwork, concrete footings and foundations, hardware replacement.

Performance criteria

3.1	Defects are identified and logged according to asset owner procedures.

3.2	Suitable materials, equipment, and tools are sourced to carry out work.

3.3	Maintenance work is completed according to asset owner procedures.

Range	evidence of two completed maintenance procedures is required.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 August 2015 | 31 December 2022 |
| Review | 2 | 25 March 2021 | 31 December 2023 |
| Review | 3 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.