| Title | Describe and apply protective coatings to electricity structures |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 20 |

| Purpose | People credited with this unit standard are able to: describe, compare, and determine quantities of protective coatings applied to electricity structures; prepare and mix components for protective coatings; apply protective coating to a range of surfaces on electricity structures; and maintain, clean and store protective coating application equipment. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Transmission Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations, and /or industry standards relevant to this unit standard include but are not limited to:

- Electricity Act 1992

- Health and Safety at Work Act 2015

- Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) and relevant EEA guides available at www.eea.co.nz

and any subsequent amendments and replacements.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, and business and quality management requirements relevant to the workplace in which assessment is carried out.

4	Assessment of practical skills against the outcomes in this standard requires three practical observations from three different workplace activities in an electricity supply environment.

Outcomes and performance criteria

Outcome 1

Describe, compare and determine quantities of protective coatings applied to electricity structures.

Performance criteria

1.1	Protective coatings are described and compared in terms of their properties and characteristics.

1.2	Protective coating products are described in terms of their potential harmful effects on the human body in accordance with the Safety Data Sheets and product data sheets.

1.3	The incompatibility and compatibility of protective coatings with different structure substrates is determined and explained.

1.4	Surface preparation limitations for coatings, and testing requirements, are described in accordance with manufacturer’s specifications.

1.5	The quantity of protective coating required for a given job is estimated in accordance with job specification and product data sheet.

1.6	The quantity of product is calculated from given mixing or thinning ratios and application rates to achieve prescribed thickness in accordance with job specification.

Outcome 2

Prepare and mix components for protective coatings.

Performance criteria

2.1	Personal protective clothing is fitted and worn in accordance with industry requirements and product requirements.

2.2	Mixing procedures for protective coatings are described in accordance with product data sheet and safety data sheet.

2.3	Protective coatings are mixed and/or thinned in accordance with job specification.

Outcome 3

Apply protective coating to a range of surfaces on electricity structures.

Range	surfaces may include but are not limited to – steel, galvanised surfaces, aluminium, concrete, timber.

Performance criteria

3.1	Job specifications, including products and equipment to be used, are confirmed in accordance with industry and/or enterprise procedures.

3.2	Personal protective clothing and climbing equipment for applying protective coatings are fitted and worn in accordance with industry and/or enterprise procedures for working at heights on structures.

3.3	Route for application of protection coating is planned according to requirements of product application method, drying and/or curing times and structure design.

3.4	Damaged or flawed protective coating is touched up to meet job specifications or requirements identified during inspection.

3.5	Apply a range of protective coating products to structures.

Range	evidence of three different types of protective coating products on three different structures.

Outcome 4

Maintain, clean and store protective coating application equipment.

Performance criteria

4.1	Coating equipment is cleaned, checked for maintenance, and stored in accordance with manufacturer’s instructions and enterprise procedures.

Range	equipment may include but is not limited to – brushes, rollers, spray equipment.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 August 2015 | 1 December 2020 |
| Review | 2 | 28 September 2017 | N/A |
| Rollover and Revision | 3 | 2 March 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.