| Title | Apply quality control concepts to abrasive blasting and protective coatings on electricity structures |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to: describe and apply quality control concepts to abrasive blasting and protective coatings on an electricity structure; demonstrate knowledge of protective coating measurement techniques; and describe abrasive blasting and protective coating quality control documentation. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Transmission Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations, and /or industry standards relevant to this unit standard include but are not limited to:

- Electricity Act 1992

- Health and Safety at Work Act 2015

- Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) and relevant EEA guides available at www.eea.co.nz

- AS/NZS 2312.1:2014, Guide to the protection of structural steel against atmospheric corrosion by the use of protective coatings - Part 1: Paint coatings

and any subsequent amendments and replacements.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, and business and quality management requirements relevant to the workplace in which assessment is carried out.

4	Assessment of practical skills against the outcomes in this standard requires three practical observations from three different workplace activities in an electricity supply environment.

Outcomes and performance criteria

Outcome 1

Describe and apply quality control concepts to abrasive blasting and protective coatings on an electricity structure.

Performance criteria

1.1	Quality control tools used for abrasive blasting and protective coating determination are described.

1.2	Workplace operations essential to quality control are identified and described.

1.3	Quality control is described in terms of preventing and detecting defects in abrasive blasting and protective coatings.

1.4	Quality control is explained in terms of identifying causes of protective coating failures.

1.5	Quality control procedures are applied to abrasive blasting and protective coatings on an electricity structure.

Outcome 2

Demonstrate knowledge of protective coating measurement techniques.

Performance criteria

2.1	Coating film thickness measurement is described in terms of wet and dry readings.

2.2	Calculations are performed to determine the required dry and wet coating film thickness.

2.3	Instruments used for measuring coating parameters are identified and their methods are described in accordance with instruments manufacturer’s instructions.

Range	may include but is not limited to – film thickness, adhesion, hardness, porosity.

2.4	Measurement techniques are applied to determine the specified wet and dry protective coating thickness in accordance with manufacturer’s requirements.

Outcome 3

Describe abrasive blasting and protective coating quality control documentation.

Performance criteria

3.1	The importance of keeping accurate quality records on electricity structures is described in accordance with company and asset owner’s procedures and AS/NZS 2312.

3.2	Accurate recording of on-site quality control is demonstrated in accordance with company and asset owner’s procedures.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 August 2015 | 31 December 2020 |
| Review | 2 | 28 September 2017 | N/A |
| Rollover and Revision | 3 | 2 March 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.