| Title | Describe and perform validation of materials for microbiological testing in a primary products food processing operation |
| --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: describe validation of materials used for microbiological testing; perform validation of materials used for microbiological testing; and interpret and report results of material validation tests used for microbiological testing, in a laboratory in a primary products food processing operation. |
| --- | --- |

| Classification | Primary Products Food Processing > Primary Products Food Processing - Operational Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Legislation and references relevant to this unit standard includes but is not limited to:

- Hazardous Substances and New Organisms Act 1996;

- Health and Safety at Work Act 2015;

- Health and Safety in Employment Regulations 1995;

- Resource Management Act 1991;

- ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available at http://www.standards.co.nz;

and any subsequent amendments.

- Definitions

Organisational requirements – instructions to staff on policies and procedures which are documented in memo, electronic or manual format and are available in the workplace.

Primary products food processing operation – covers a meat, dairy, seafood, fruit and vegetable and honey processing, food and beverage manufacturing, and other related industries.

- Validation of materials may include but is not limited to – media validation, detergent residue test, water toxicity test;

4	Evidence for this unit standard must be presented in accordance with organisational requirements.

Outcomes and performance criteria

Outcome 1

Describe validation of materials used for microbiological testing in a laboratory in a primary products food processing operation.

Range	evidence for all three tests is required.

Performance criteria

  - Describe the microbiological tests in terms of technology, reactions and the process involved.

  - Describe critical stages of the microbiological tests in terms of the process used at each stage.

  - Describe variables of the microbiological tests in terms of the process for their elimination.

Range	variables include but are not limited to – equipment, apparatus, reagents, sample, technique, contamination, environment.

  - Describe quality assurance of the microbiological test in terms of organisational requirements.

Range	quality assurance includes but is not limited to – blanks, repeatability, duplicates, reproducibility.

Outcome 2

Perform validation of materials used for microbiological testing in a laboratory in a primary products food processing operation.

Performance criteria

2.1	Prepare samples and equipment.

2.2	Perform tests in accordance with agreed processes and procedures.

2.3	Perform tests in a safe and aseptic manner.

2.4	Confirm tests.

2.5	Clean and store test equipment, and dispose of samples and waste.

Outcome 3

Interpret and report results of material validation tests used for microbiological testing in a laboratory in a primary products food processing operation.

Performance criteria

3.1	Interpret, confirm, and report laboratory test results.

3.2	Identify any laboratory test non-conformance results and take corrective action.

3.3	Analyse abnormal test situations to identify the nature of the problem and reach a valid solution.

3.4	Analyse abnormal test results to identify the nature of the problem and reach a valid solution.

| Replacement information | This unit standard replaced unit standard 22000. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 September 2015 | 31 December 2024 |
| Review | 2 | 24 March 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0033 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Hanga-Aro-Rau Manufacturing, Engineering, and Logistics Workforce Development Council qualifications@hangaarorau.nz if you wish to suggest changes to the content of this unit standard.