| Title | Describe and use an infrared instrument for analysis in a laboratory in a primary products food processing operation |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: describe the principles of operation of an infrared instrument; use an infrared instrument; and report infrared analysis results, in a laboratory in a primary products food processing operation. |
| --- | --- |

| Classification | Primary Products Food Processing > Primary Products Food Processing - Operational Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Legislation and references relevant to this unit standard include but are not limited to:

- Hazardous Substances and New Organisms Act 1996;

- Health and Safety at Work Act 2015;

- Health and Safety in Employment Regulations 1995;

- Resource Management Act 1991;

- ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available at http://www.standards.co.nz;

and any subsequent amendments.

- Definitions

Organisational requirements – instructions to staff on policies and procedures which are documented in memo, electronic or manual format and are available in the workplace.

Primary products food processing operation – covers a meat, dairy, seafood, fruit and vegetable and honey processing, food and beverage manufacturing and other related industries.

- Instruments include but are not limited to – near-infrared, mid-infrared;

evidence is required of one instrument type.

4	All evidence presented in this unit standard must be in accordance with organisational requirements.

Outcomes and performance criteria

Outcome 1

Describe the principles of operation of an infrared instrument used in a laboratory in a primary products food processing operation.

Performance criteria

  - Describe the underlying principles and theory of operation for an infrared instrument in terms of the technology and the chemical reactions and/processes that take place.

  - Describe maintenance procedures.

  - Describe calibration procedure.

  - Describe quality control checks in terms of the type and cause of typical errors.

Range	quality control checks include but are not limited to – blanks, repeatability, reproducibility;

evidence of three is required.

Outcome 2

Use an infrared instrument to carry out analysis in a laboratory in a primary products food processing operation.

Performance criteria

2.1	Set up instrument.

2.2	Conduct tests in accordance with agreed processes and procedures.

2.3	Identify any non-conformance and take corrective action.

2.4	Use the instrument in a manner that avoids danger to persons, or damage to the instrument or equipment.

2.5	Maintain the instrument.

Outcome 3

Report infrared analysis results in a laboratory in a primary products food processing operation.

Performance criteria

3.1	Document test results.

3.2	Review and confirm results.

3.3	Analyse abnormal test results to identify the nature of the problem and reach a valid solution.

| Replacement information | This unit standard replaced unit standard 22004. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 September 2015 | 31 December 2024 |
| Review | 2 | 24 March 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0033 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Hanga-Aro-Rau Manufacturing, Engineering, and Logistics Workforce Development Council qualifications@hangaarorau.nz if you wish to suggest changes to the content of this unit standard.