| Title | Describe and carry out microbiological tests in a laboratory in a primary products food processing operation |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to: describe microbiological testing of food products; prepare samples for microbiological testing of food products; perform microbiological tests on food products; and interpret, confirm, and report results of microbiological tests on food products, in a primary products food processing operation. |
| --- | --- |

| Classification | Primary Products Food Processing > Primary Products Food Processing - Operational Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Legislation and references relevant to this unit standard include but are not limited to:

- Hazardous Substances and New Organisms Act 1996;

- Health and Safety at Work Act 2015;

- Health and Safety in Employment Regulations 1995;

- Resource Management Act 1991;

- ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available at http://www.standards.co.nz;

and any subsequent amendments.

- Definitions

Organisational requirements – instructions to staff on policies and procedures which are documented in memo, electronic or manual format and are available in the workplace.

Primary products food processing operation – covers a meat, dairy, seafood, fruit and vegetable and honey processing, food and beverage manufacturing and other related industries.

- Microbiological tests may include but are not limited to – starter cultures, culture maintenance, microbiological counts, special microbiological counts, validation of materials, preparing samples;

evidence of four different microbiological tests is required.

4	All evidence presented in this unit standard must be in accordance with organisational requirements.

Outcomes and performance criteria

Outcome 1

Describe microbiological testing of food products in a primary products food processing operation.

Performance criteria

  - Describe the principles of the tests in terms of technology, reactions and processes involved.

  - Describe critical stages of the tests in terms of their function.

Range	critical stages may include but are not limited to – media preparation, sample preparation, sampling, test preparation, testing, incubation, sub-culturing, reading and data input, confirmation;

evidence of four critical stages is required.

  - Describe variables of the tests in terms of the process of eliminating variables.

Range	evidence of four different variables is required.

  - Describe quality assurance of the tests.

Range	quality assurance includes but is not limited to – controls, blanks, repeatability, reproducibility, duplicates, decimal dilutions.

Outcome 2

Prepare samples for microbiological testing of food products in a primary products food processing operation.

Performance criteria

2.1	Select procedure for sample preparation.

2.2	Calculate and measure quantities of product.

2.3	Take a sample.

2.4	Prepare sample in a safe and aseptic manner.

2.5	Clean and store equipment and samples and dispose of waste.

Outcome 3

Perform microbiological tests on food products in a primary products food processing operation.

Performance criteria

3.1	Prepare samples and equipment in accordance with manufacturer’s specifications.

3.2	Perform tests in a safe and aseptic manner.

3.3	Confirm test results.

3.4	Clean and store test equipment and samples and dispose of waste.

Outcome 4

Interpret, confirm, and report results of microbiological tests on food products in a primary products food processing operation.

Performance criteria

4.1	Interpret, confirm, and report microbiological test results.

4.2	Identify any microbiological test non-conformance and take corrective action.

| Replacement information | This unit standard replaced unit standard 21995, unit standard 21996 and unit standard 21997. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 September 2015 | 31 December 2024 |
| Review | 2 | 24 March 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0033 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Hanga-Aro-Rau Manufacturing, Engineering, and Logistics Workforce Development Council  qualifications@hangaarorau.nz if you wish to suggest changes to the content of this unit standard.