| Title | Select and install electric motor starters |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 2 |

| Purpose | This unit standard covers selection and installation of motor starters. It is intended for people wishing to qualify as electricians. People credited with this unit standard are able to: – establish and report on the suitability of selected motor starters to meet job requirements; and – install and test motor starters. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Installation and Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job.

2	Definition

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000:2007, Electrical Installations (known as the Australian/New Zealand Wiring Rules).

3	Range

a	Evidence of five three-phase electric motor starters is required of which two must be different.

b	Motor starters may include but are not limited to – direct on line, reversing, soft starter, star delta.

c	Candidates may refer to current legislation and Standards during assessment.

d	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

e	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010;

v	applicable site, enterprise, and industry practice; and,

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Establish and report on the suitability of selected motor starters to meet the job specifications.

Performance criteria

1.1	Ensure the selected motor starters meet the electrical and environmental requirements based on drawings and client requirements and prepare a report on their suitability in terms of motor load requirements.

Outcome 2

Install and test motor starters.

Performance criteria

2.1	Install motor starters in accordance with energy supplier and customer requirements.

2.2	Install all other components in accordance with drawings where available, and manufacturers' instructions.

2.3	Establish and set overload settings.

2.4	Establish expected test results before connection.

2.5	Connect and carry out current tests and prepare test report.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 July 2016 | 31 December 2027 |
| Review | 2 | 24 March 2022 | 31 December 2027 |
| Rollover and Revision | 3 | 25 May 2023 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.