| Title | Install network premises cabling systems |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | This unit standard covers the necessary introductory skills required to install and test network data cabling in domestic, residential, industrial, or commercial premises. People credited with this unit standard are able to: – install terminate, and test basic network data cabling; – explain fundamental principles of network data cabling. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Installation and Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job. However, it may be assessed in a classroom, workshop, or in a simulated work environment.

2	Definitions

Cable – copper.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice. Includes AS/NZS 11801.1:2019 Information Technology - Generic cabling for customer premises: Part 1: General requirements.

PoE – Power over Ethernet

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000:2007, Electrical Installations (known as the Australian/New Zealand Wiring Rules) or its replacement.

3	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010;

v	AS/NZS 11801.1:2019 Information Technology - Generic cabling for customer premises: Part 1: General requirements;

vi	applicable site, enterprise, and industry practice; and,

vii	where appropriate, manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Install, terminate, and test basic network data cabling.

Performance criteria

- 1.1	Use appropriate tools to install and terminate cables.

- Range	includes but is not limited to – installing data cable support systems and flush boxes; installing and securing data cables; terminating data cables using RJ45.

- 1.2 	Perform basic tests.

- Range	includes but is not limited to - continuity and failed wire map testing.

Outcome 2

- Explain fundamental principles of network data cabling.

Performance criteria

- 2.1	Explain fundamental principles of network data cabling in relation to premise data cabling installation.

- Range	includes but is not limited to – cable length, segregation from other services, selection of cable type for environmental conditions and application, cabling pathways, PoE calculations for maximum cable length.

| Planned review date | 31 December 2029 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 July 2016 | 31 December 2027 |
| Revision | 2 | 16 March 2017 | 31 December 2027 |
| Review | 3 | 24 March 2022 | 31 December 2027 |
| Rollover and Revision | 4 | 25 May 2023 | 31 December 2027 |
| Review | 5 | 28 November 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.