| Title | Demonstrate knowledge of legislation and Standards governing electrical workers |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 2 |

| Purpose | This unit standard is intended for use in the training of electricians, and covers a basic understanding of the framework of legislation, Standards, organisations, and processes that govern their work in New Zealand. People credited with this unit standard are able to demonstrate knowledge of: – basic employment rights and responsibilities in accordance with the Employment Relations Act – legislation, codes of practice, Standards, and organisations that have an impact on the work of registered electrical workers – the responsibilities and limitations of registered electrical workers – the Electricity (Safety) Regulations – AS/NZS 3000 – AS/NZS 3760 – the New Zealand Electrical Codes of Practice. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Standards and Statutes |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment off-job.

2	Definitions

ERAC – Electrical Regulatory Authorities Council.

EWRB – Electrical Worker's Registration Board.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

PEW – prescribed electrical work.

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000, Electrical Installations (known as the Australian/New Zealand Wiring Rules).

3	References

AS/NZS 3000:(version as cited in the Electricity (Safety) Regulations), Electrical Installations (known as the Australian/New Zealand Wiring Rules)

AS/NZS 3760:, In-service safety inspection and testing of electrical equipment and RCDs

Building Act 2004

Consumer Guarantees Act 1993

Electricity (Safety) Regulations 2010

Electricity Act 1992

Employment Relations Act 2000

Health and Safety at Work Act 2015

Industry Training Act 1992

The New Zealand Electrical Codes of Practice, available from WorkSafe New Zealand

and all subsequent amendments and replacements.

4	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation

ii	policies and procedures

iii	ethical codes

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010

v	applicable site, enterprise, and industry practice

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of basic employment rights and responsibilities in accordance with the Employment Relations Act.

Performance criteria

1.1	Describe collective and individual employment agreements in terms of their purpose and the relationship between the parties and list five topics that must, or may, be included in an individual employment agreement.

1.2	Identify rights and responsibilities arising from an employment relationship.

Range	one right and one responsibility from – fair treatment on both sides, good faith obligations, health and safety.

1.3	Describe the rights to representation and to negotiate collective agreements.

1.4	Identify by name, services provided, and any cost involved, three different sources of information in relation to employment agreement negotiation and employment relations problems.

Outcome 2

Demonstrate knowledge of legislation, codes of practice, Standards, and organisations that have an impact on the work of registered electrical workers.

Performance criteria

2.1	Identify Acts that are important to the work of registered electrical workers.

Range	Consumer Guarantees Act, Building Act, Electricity Act, Health and Safety at Work Act, Industry Training Act.

2.2	Identify regulations that are important to the work of registered electrical workers.

Range	Building Act associated regulations, Electricity (Safety) Regulations.

2.3	Identify key Standards that are important to the work of registered electrical workers.

Range	AS/NZS 3000, AS/NZS 3760.

2.4	Identify organisations that impact on the work of registered electrical workers.

Range	EWRB, ERAC, Ministry of Business, Innovation and Employment, Waihanga Ara Rau Construction and Infrastructure Workforce Development Council, Occupational Safety and Health Service of the Department of Labour, electrical supply companies (energy suppliers), electrical industry associations.

2.5	Explain the purpose of site safety identifications such as the Site Safe Passport.

Outcome 3

Demonstrate knowledge of the responsibilities and limitations of registered electrical workers.

Performance criteria

3.1	Describe, in accordance with Supervision Procedures for Trainees, the requirements for supervision of trainees and other electrical workers who are not permitted to have responsibility to carryout PEW.

3.2	Identify the requirements to obtain a Trainee Limited Certificate and identify the limitations of work a person with a Trainee Limited Certificate can do.

3.3	Explain the necessary requirements for a person to be registered, licensed, or authorised.

3.4	Describe the limits and restrictions that the EWRB may impose upon registered persons in terms of the type of work that may undertake and where and for whom a registered person may work.

3.5	Define PEW that electricians may perform.

3.6	Define PEW that persons who are not registered electricians may undertake and under what circumstances may they undertake such work.

3.7	State the responsibilities of persons carrying out PEW.

Range	responsibilities – compliance with the current regulations and Standards as they apply to the work undertaken, high standard of workmanship, safe working practices, certification of PEW.

3.8	Identify persons who may assist a registered electrical worker to carrying out PEW in accordance with current regulations and Standards.

3.9	State EWRB's audit requirement of PEW in accordance with current regulations and Standards.

3.10	Outline electrical work requiring inspection and identify persons qualified to inspect such work.

3.11	Explain competency requirements and safety tuition for registered electrical workers in accordance with the Electricity (Safety) Regulations.

Outcome 4

Demonstrate knowledge of the Electricity (Safety) Regulations.

Performance criteria

4.1	Describe the structure of the Electricity (Safety) Regulations in terms of the relationship between it, the Electricity Act, other regulations, codes of practice, and Standards.

4.2	Locate passages for five given unrelated subjects in the Electricity (Safety) Regulations and summarise them.

Outcome 5

Demonstrate knowledge of AS/NZS 3000.

Performance criteria

5.1	Describe the structure of AS/NZS 3000 in terms of clauses that are mandatory and those that are only a means of compliance.

5.2	State the fundamental safety requirements contained in AS/NZS 3000 in terms of protection of people and property.

5.3	Explain testing and verification of electrical work as prescribed in AS/NZS 3000.

5.4	Locate clauses for five given unrelated subjects in AS/NZS 3000 and summarise them.

Outcome 6

Demonstrate knowledge of AS/NZS 3760.

Performance criteria

6.1	Describe the purpose of AS/NZS 3760.

6.2	Describe the structure of AS/NZS 3760 in terms of clauses that are mandatory and those that are only a means of compliance.

6.3	State the fundamental safety requirements contained in AS/NZS 3760 in terms of protection of people and property.

6.4	Explain testing and verification of electrical equipment as prescribed in AS/NZS 3760.

6.5	Locate clauses for five given subjects in AS/NZS 3760.

Outcome 7

Demonstrate knowledge of the New Zealand Electrical Codes of Practice.

Performance criteria

7.1	Describe the purpose of New Zealand Electrical Codes of Practice.

7.2	Describe the structure of New Zealand Electrical Codes of Practice in terms of clauses that are mandatory and those that are only a means of compliance.

7.3	State the fundamental safety requirements contained in New Zealand Electrical Codes of Practice in terms of protection of people and property.

7.4	Locate clauses for five given subjects in New Zealand Electrical Codes of Practice and summarise them.

| Planned review date | 31 December 2028 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 July 2016 | 31 December 2025 |
| Review | 2 | 28 March 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.