| Title | Demonstrate knowledge of electric switchboards and lighting and power circuits |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 2 |

| Purpose | This unit standard is intended for training and assessment of electrical workers and covers knowledge and application of electric electromagnetic production and management of electricity. People credited with this unit standard are able to: – demonstrate knowledge of switchboards – demonstrate knowledge of basic lighting and power circuits including associated electrical protection. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Installation and Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment off-job.

2	Definitions

AC – alternating current.

DC – direct current.

EWRB – Electrical Workers Registration Board.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

MEN – multiple earth neutral.

RCD – residual current device.

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000 (version as cited by the Electricity (Safety) Regulations), Electrical Installations (known as the Australian/New Zealand Wiring Rules).

3	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation

ii	policies and procedures

iii	ethical codes

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010

v	applicable site, enterprise, and industry practice

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of switchboards.

Performance criteria

1.1	Describe types of electrical switchboards and equipment.

Range	main switchboard, multiple earth neutral (MEN) switchboard, distribution board, switchgear.

1.2	With the aid of diagrams outline the function of switchboards and where they fit in the circuit.

Range	domestic, commercial, industrial, electricity supply.

1.3	Identify components found on switchboards and outline their purpose.

1.4	Summarise switchboard installation requirements.

1.5	Describe requirements for the installation of RCD on switchboards.

1.6	Summarise switchboard internal arc fault and fire prevention measures.

1.7	Describe visual checks and electrical test procedures for main switchboards.

Range	electrical test – polarity, phase rotation, insulation resistance, bonding.

Outcome 2

Demonstrate knowledge of basic lighting and power circuits including associated electrical protection.

Performance criteria

2.1	Identify components and equipment found in lighting circuits and outline their purpose and operation.

2.2	Identify components and equipment found in power circuits and outline their purpose and operation.

2.3	Explain connection methods used in lighting and power circuits.

2.4	Describe electrical protection requirements for basic lighting and power circuit.

| Replacement information | This unit standard replaced unit standard 1205. |
| --- | --- |

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 July 2016 | N/A |
| Rollover and Revision | 2 | 25 May 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.