| Title | Demonstrate and apply knowledge of switchboard components and their representation in documentation |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 12 |

| Purpose | This unit standard is for people engaged in the manufacture of switchboards in the electrotechnology industry. People credited with this unit standard are able to: – demonstrate knowledge of layout and physical enclosure requirements of switchboards from documentation – demonstrate knowledge of switchgear components excluding cables and busbars – demonstrate knowledge of the function of different cable types used in the manufacture of switchboards – demonstrate knowledge of switchgear busbars – demonstrate knowledge of switchboard drawings – create GA or SLD switchboard schematics using CADD. |
| --- | --- |

| Classification | Electrical Engineering > Electric Switchboards |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard may be used for learning and assessment on-job.

2	Reference

- Accident Compensation Act 2001

- AS/NZS 3000 (version as cited in the Electricity (Safety) Regulations), Electrical installations (known as the Australian/New Zealand Wiring Rules)

- AS/NZS 61439.4:2016, Low-voltage switchgear and controlgear assemblies – Part 4: Particular requirements for assemblies for construction sites (ACS)

available at Standards NZ

- Electricity Act 1992

- Electricity (Safety) Regulations 2010

- Health and Safety at Work Act 2015

- The New Zealand Electrical Codes of Practice, available at WorkSafe New Zealand, worksafe.govt.nz

and all subsequent amendments and replacements.

3	Definitions

CADD – computer aided design and drafting package.

GA – General Assembly.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

Safe and sound practice – this relates to the installation of electrical equipment and is defined in AS/NZS 3000.

SLD – Single Line Diagram.

Symbols and components – items commonly used in switchboard manufacture and interfacing equipment.

4	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	For assessment purposes, candidates must demonstrate competence with documentation systems used in their particular workplace.  Documentation may include but is not limited to – drawings, manuals, and procedure sheets.

d	All evidence presented for assessment against this unit standard must be in accordance with:

i	legislation

ii	policies and procedures

iii	ethical codes

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010

v	applicable site, enterprise, and industry practice

vi	where appropriate manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of layout and physical enclosure requirements of switchboards from documentation.

Performance criteria

1.1	Establish size, shape, and layout of the switchboard and explain considerations for selection.

Range	includes but is not limited to – installation, space, equipment, assembly, thermal characteristics, access to switchboard, entry and exit cables.

1.2	Establish material used for switchboard enclosures.

1.3	Identify and explain components required to produce a switchboard and discuss hardware configuration.

Range	may include but is not limited to – arc fault containment, form factor.

Outcome 2

Demonstrate knowledge of switchgear components excluding cables and busbars.

Performance criteria

2.1	Identify components and explain their function on a switchboard assembly.

Range	10 components selected by the candidate and 10 components selected by the assessor.

2.2	Provide alternative component symbols with reference to other international standards.

Range	10 components selected by the candidate and 10 components selected by the assessor.

2.3	Explain the function of special component mounting provisions.

2.4	Locate and explain circuit connection points on the components.

Outcome 3

Demonstrate knowledge of the function of different cable types used in the manufacture of switchboards.

Performance criteria

3.1	Identify and explain the function of five different cable types.

3.2	Provide and explain typical applications with reference to the identified five cables.

3.3	Explain the purpose and need for cable/core identification.

Outcome 4

Demonstrate knowledge of switchgear busbars.

Performance criteria

4.1	Identify and explain two different applications of busbars on a switchboard assembly.

4.2	Identify and explain busbar mounting provisions.

4.3	Identify and explain busbar connection points, joints, and main entry tabs.

Outcome 5

Demonstrate knowledge of switchboard drawings.

Performance criteria

5.1	Identify different types of diagrams and explain unique features and purpose of each type of diagram with reference to a particular application.

Range	GA, schematic, SLD, busbar layout.

5.2	Identify and explain five component details in each set of diagrams for a particular switchboard.

Range	GA, schematic, SLD.

Outcome 6

Create GA or SLD switchboard schematic using CADD.

Performance criteria

6.1	Produce two sets of drawings using CADD.

6.2	Provide at least five industry recognised symbols per drawing.

6.3	Confirm drawing accuracy meets job specifications.

| Replacement information | This unit standard replaced unit standard 14970. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 November 2016 | N/A |
| Rollover and Revision | 2 | 25 July 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.