	NZQA unit standard
	29757 version 2

	
	Page 1 of 2



	Title
	Demonstrate and apply knowledge to assemble switchboards

	Level
	4
	Credits
	13


	Purpose
	This unit standard is for people engaged in the manufacture of switchboards in the electrotechnology industry.

People credited with this unit standard are able to:

–
prepare components for assembly of switchboards

–
assemble switchboard enclosures

–
fit switchgear components

–
communicate switchboard fabrication difficulties

–
verify the suitability of switchboard assembly.


	Classification
	Electrical Engineering > Electric Switchboards


	Available grade
	Achieved


Guidance Information
1
This unit standard may be used for learning and assessment on-job.

2
References

· Accident Compensation Act 2001
· AS/NZS 3000 (version as cited in the Electricity (Safety) Regulations), Electrical installations (known as the Australian/New Zealand Wiring Rules)
· AS/NZS 61439.4:2016, Low-voltage switchgear and controlgear assemblies – Part 4: Particular requirements for assemblies for construction sites (ACS) available at Standards NZ
· Electricity Act 1992
· Electricity (Safety) Regulations 2010
· Health and Safety at Work Act 2015
· The New Zealand Electrical Codes of Practice, available at WorkSafe New Zealand, worksafe.govt.nz

and all subsequent amendments and replacements.

3
Definitions


Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.


Safe and sound practice – this relates to the installation of electrical equipment and is defined in AS/NZS 3000

4
Range

a
Candidates may refer to current legislation and Standards during assessment.

b
Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c
All evidence presented for assessment against this unit standard must be in accordance with:

i
legislation

ii
policies and procedures

iii
ethical codes

iv
Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010
v
applicable site, enterprise, and industry practice

vi
where appropriate manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria
Outcome 1

Prepare components for assembly of switchboards.

Performance criteria

1.1
Confirm quality, quantity, and type of supplied components against assembly specifications.

1.2
Carry out processes to return and replace damaged stock and/or order parts to cover shortfall.

Outcome 2

Assemble switchboard enclosures.

Range
may include but is not limited to – cabinets, cubicles, frameworks.

Performance criteria

2.1
Safely assemble enclosures in accordance with specifications and industry practices.

2.2
Select and safely assemble components in a manner that optimises production efficiency and meets specification.

Outcome 3

Fit switchgear components.

Performance criteria

3.1
Fit components to the enclosure ensuring ease of access for current and subsequent access and termination.

3.2
Use fixings and techniques to optimise production efficiency in accordance with specifications.

3.3
Secure components in the positions defined by the drawings and/or within the tolerances specified in the manufacturers' instructions.

Outcome 4

Communicate switchboard fabrication difficulties.

Performance criteria

4.1
Explain in detail impractical fabrication requirements on drawings to the appropriate person.

4.2
Explain fabrication options to overcome a perceived fabrication difficulty.

4.3
Communicate fabrication difficulty affecting safety and/or function in a manner that permits investigation and remedy.

4.4
Obtain authority for variation to specifications.

Outcome 5

Verify the suitability of switchboard assembly.

Performance criteria

5.1
Confirm and install all components in accordance with drawings, specifications, and any authorised variations.

5.2
Confirm switchboard dimensions are in accordance with specifications.

5.3
Mark electrical connections on the assembly and provide connection and installation instructions.

5.4
Confirm and install shipping breaks in accordance with specifications.

	Replacement information
	This unit standard replaced unit standard 14972.


	Planned review date
	31 December 2026


Status information and last date for assessment for superseded versions

	Process
	Version
	Date
	Last Date for Assessment

	Registration
	1
	17 November 2016
	N/A

	Rollover and Revision
	2
	25 July 2024
	N/A


	Consent and Moderation Requirements (CMR) reference
	0003


This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.

	Waihanga Ara Rau Construction and Infrastructure Workforce Development Council
SSB Code 6046
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2024



