| Title | Fabricate and install busbars in switchboards |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 14 |

| Purpose | This unit standard is for people engaged in the manufacture of switchboards in the electrotechnology industry. People credited with this unit standard are able to: – make accurate bends in busbars to meet job specifications – complete specified busbar sets from drawings – punch and/or drill holes in busbars in accordance with the requirements of the drawing – install busbars and bracing support systems in accordance with job specification and industry practice – explain and demonstrate busbar jointing methods. |
| --- | --- |

| Classification | Electrical Engineering > Electric Switchboards |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard may be used for learning and assessment off-job or on-job.

2	References

- Accident Compensation Act 2001

- AS/NZS 3000 (version as cited in the Electricity (Safety) Regulations), Electrical installations (known as the Australian/New Zealand Wiring Rules)

- AS/NZS 61439.4:2016, Low-voltage switchgear and controlgear assemblies – Part 4: Particular requirements for assemblies for construction sites (ACS), available at Standards NZ

- Electricity Act 1992

- Electricity (Safety) Regulations 2010

- Health and Safety at Work Act 2015

- The New Zealand Electrical Codes of Practice, available at WorkSafe New Zealand, worksafe.govt.nz

and all subsequent amendments and replacements.

3	Definitions

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

Safe and sound practice – this relates to the installation of electrical equipment and is defined in AS/NZS 3000.

Set – a combination of angles, bends, and distances between angles and bends on a busbar.

4	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	Competency must be demonstrated on busbar systems with total ampacity of no less than 800 amps per phase.

d	All evidence presented for assessment against this unit standard must be in accordance with:

i	legislation

ii	policies and procedures

iii	ethical codes

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010

v	applicable site, enterprise, and industry practice

vi	where appropriate manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Make accurate bends in busbars to meet job specifications.

Range	busbars – two of different profile sizes;

bends – one on each busbar, each of 90 degrees maximum;

plan – any one of profile drawing, engineer’s sketch, own sketch.

Performance criteria

1.1	Bend busbars with bending tools safely.

1.2	Bend busbars to the required angle without loss of mechanical or electrical integrity.

1.3	Busbar bending radii are consistent and show efficient use of materials.

Outcome 2

Complete specified busbar sets from drawings.

Range	two angles and one distance between angles on each of two pre-cut busbars.

Performance criteria

2.1	Bend busbars to specified sets in accordance with job specifications and industry practice.

2.2	Demonstrate accurate bending of busbars by close nesting of the two busbars on first attempt.

Outcome 3

Punch and/or drill holes in busbars in accordance with the requirements of the drawing.

Performance criteria

3.1	Accurately punch and/or drill holes in busbars on first attempt without damage to busbars, workstation, self and other persons, and environment.

3.2	Create busbar holes in a consistent and safe manner.

3.3	Ream edges of holes to remove all burrs in accordance with industry practice.

Outcome 4

Install busbars and bracing support systems in accordance with job specification and industry practice.

Range	evidence of two busbar and two bracing systems is required.

Performance criteria

4.1	Install busbar and bracing support systems in accordance with job specification.

4.2	Position busbars to achieve specified clearances and creepage distance.

4.3	Join busbars to meet job specification.

4.4	Install busbars support systems in accordance with fault rating requirements.

Outcome 5

Explain and demonstrate busbar jointing methods.

Performance criteria

5.1	Explain methods of jointing busbars with reference to surface preparation, assembly technique, maintenance of electrical properties, and jointing of dissimilar metals.

5.2	Explain busbar jointing requirements in terms of number, positioning, and type of fixings.

5.3	Ensure phase rotation and colour coding of busbars complies with job specifications.

| Replacement information | This unit standard replaced unit standard 14974. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 November 2016 | N/A |
| Rollover and Revision | 2 | 25 July 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.