| Title | Demonstrate and apply knowledge of testing switchboards |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | This unit standard is for people engaged in the manufacture of switchboards in the electrotechnology industry. People credited with this unit standard are able to: – demonstrate knowledge of test equipment – explain and apply switchboard inspection and testing methods – demonstrate knowledge of anticipated results of switchboard tests – explain and apply knowledge of thermal imaging in switchboard testing. |
| --- | --- |

| Classification | Electrical Engineering > Electric Switchboards |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard may be used for learning and assessment for off-job or on-job.

2	References

- Accident Compensation Act 2001

- AS/NZS 3000 (version as cited in the Electricity (Safety) Regulations), Electrical installations (known as the Australian/New Zealand Wiring Rules)

- AS/NZS 61439.4:2016, Low-voltage switchgear and controlgear assemblies – Part 4: Particular requirements for assemblies for construction sites (ACS), available at Standards NZ

- Electricity Act 1992

- Electricity (Safety) Regulations 2010

- Health and Safety at Work Act 2015

- The New Zealand Electrical Codes of Practice, available at WorkSafe New Zealand, worksafe.govt.nz

and all subsequent amendments and replacements.

3	Definitions

CT – Current Transformers.

HV – High Voltage.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

Safe and sound practice – this relates to the installation of electrical equipment and is defined in AS/NZS 3000.

VT – Voltage Transformers.

4	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All evidence presented for assessment against this unit standard must be in accordance with:

i	legislation

ii	policies and procedures

iii	ethical codes

iv	Standards (may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010)

v	applicable site, enterprise, and industry practice

vi	where appropriate manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of test equipment.

Range	test equipment may include – insulation tester, HV tester, current injection test set, ductor set, polarity test set, ohm-metre;

evidence of three types of test equipment is required.

Performance criteria

1.1	Explain the purpose of each piece of equipment.

1.2	Explain calibration needs and safety precautions appropriate to the use of each piece of equipment.

1.3	Explain and apply the appropriate method for each piece of equipment and explain the relation to specific test requirements.

Outcome 2

Explain and apply switchboard inspection and testing methods.

Performance criteria

2.1	Explain the typical sequence of inspections and tests that provides efficiency and safety.

Range	inspections – layout, busbars;

tests – CT, VT, wiring, insulation, potential, functional.

2.2	Explain and apply two methods of systematically testing the operating voltages of all circuits in a switchboard.

2.3	Explain and apply two methods of calibrating and testing circuit breakers.

2.4	Apply safe working clearances for high voltage testing and operational testing.

2.5	Complete CT tests, polarity tests, and current injection tests and explain each test in terms of procedure and operation.

2.6	Use test voltages for common nominal switchboard voltages.

2.7	Provide a written or oral test report that outlines the results from the completed tests.

Outcome 3

Demonstrate knowledge of anticipated results of switchboard tests.

Performance criteria

3.1	Describe typical tolerances for test results.

3.2	Explain flashover and/or puncture occurring during insulation and HV tests.

3.3	Explain reasons for acceptable pass/fail criteria for insulation tests carried out at the test voltages defined in relevant Standards and/or regulations.

Outcome 4

Explain and apply knowledge of thermal imaging for switchboards.

Performance criteria

4.1	Explain thermal imaging in terms of how it detects hot spots on the switchboard.

4.2	Explain the types of faults that may be detected with thermal imaging technology.

4.3	Operate and use thermal imaging equipment to survey an existing switchboard installation.

4.4	Provide a written or oral report that identifies and explains the potential faults and/or hot spots using the results from the survey.

| Replacement information | This unit standard replaced unit standard 14978. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 November 2016 | N/A |
| Rollover and Revision | 2 | 25 July 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihanga.nz if you wish to suggest changes to the content of this unit standard.