| Title | Demonstrate knowledge of greenhouse environmental control systems to maintain optimal conditions for plant growth |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of greenhouse environmental control systems to maintain optimal conditions for plant growth. |
| --- | --- |

| Classification | Horticulture > Production Horticulture |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation relevant to this unit standard includes but is not limited to:

- Health and Safety at Work Act 2015;

and any subsequent amendments.

2	Learners may report on monitoring and maintenance of environmental control systems carried out by workplace specialists.

3	Evidence must be gathered in a commercial horticulture context.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of greenhouse environmental control systems to maintain optimal conditions for plant growth.

Performance criteria

  - Describe the environmental requirements for a greenhouse crop in terms of optimal plant growth.

  - Describe the effects of environmental control methods in terms of crop production and quality.

Range	evidence of four methods, including lighting is required.

1.3	Describe a workplace environmental control system in terms of maintaining optimal conditions for plant growth.

1.4	Describe a system for monitoring an environmental control system in terms of maintaining optimal conditions for plant growth.

1.5	Report on the monitoring, operator decisions, and maintenance of a greenhouse environmental control system in terms of maintaining optimal conditions for plant growth.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 February 2017 | 31 December 2024 |
| Review | 2 | 27 January 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0052 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Muka Tangata - People, Food and Fibre Workforce Development Council qualifications@mukatangata.nz if you wish to suggest changes to the content of this unit standard.