| Title | Interpret data to determine the effect of effluent discharge on the environment |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 10 |

| Purpose | People credited with this unit standard are able to: describe the effects of effluent discharge on the environment; and interpret data to determine the impact of effluent discharge on surface receiving water, groundwater, and on soils and vegetation. |
| --- | --- |

| Classification | Water Industry > Wastewater Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

- Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015, Water Services Act 2021, Hazardous Substances and New Organisms (HSNO) Act 1996, and subsequent amendments.

3	Definitions

Biota – a total collection of biological organisms including macroinvertebrates, algae, aquatic plants.

Effluent – treated wastewater which is the used water from domestic, commercial, and industrial activities, which contains contaminants such as nutrients, organic matter, and micro-organisms; and excludes stormwater.

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Surface receiving waters – rivers, streams, lakes, marine environment.

The environment – surface water, groundwater, soils, and vegetation.

Wastewater may include stormwater and sewage systems.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Describe the effects of effluent discharge on the environment.

Performance criteria

  - Effects of effluent discharge on surface receiving water are described in terms of potential consequences to ecosystems.

Range	dissolved oxygen deficit, algal productivity and aquatic plant growth, micro-organism reduction.

  - Effects of effluent discharge on groundwater are described in terms of potential consequences to ecosystems.

Range	nutrient levels, microbiological quality, organic matter.

  - Effects of effluent discharge on soils and vegetation are described in terms of potential consequences to ecosystems.

Outcome 2

Interpret data to determine the impact of effluent discharge on surface receiving water.

Performance criteria

- 2.1	Data related to dissolved oxygen deficit in surface receiving waters is interpreted to determine the impact of effluent discharge.

Range	dissolved oxygen levels, dilution and flow rates, oxygen sensitivity.

- 2.2	Data related to algal productivity and aquatic plant growth in receiving surface waters is interpreted to determine the impact of effluent discharge.

Range	species – diversity, abundance.

- 2.3	Data related to biota population change in surface receiving waters is interpreted to determine the impact of effluent discharge.

Range	indicator organism levels.

Outcome 3

Interpret data to determine the impact of effluent discharge on groundwater.

Performance criteria

- 3.1	Data related to groundwater is interpreted to determine the impact of effluent discharge.

Range	changes in nutrient levels, microbiological quality, flow rate and distance;

evidence of one type of data is required.

Outcome 4

Interpret data to determine the impact of effluent discharge on soils and vegetation.

Performance criteria

- 4.1	Data related to soils is interpreted to determine the impact of effluent discharge.

Range	data related to – contaminant accumulation, microbiological clogging, physical clogging, chemical clogging.

- 4.2	Data related to growth rate and type of vegetation is interpreted to determine the impact of effluent discharge.

Range	contaminant accumulation, growth rate, species diversity and abundance.

| Replacement information | This unit standard replaced unit standard 24932 and unit standard 24940. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2023 |
| Review | 2 | 28 April 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihanga.nz if you wish to suggest changes to the content of this unit standard.