| Title | Describe and operate fixed growth reactor processes in wastewater treatment |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to: describe fixed growth reactor processes; monitor and adjust fixed growth reactor processes; and carry out maintenance procedures on fixed growth reactor equipment in wastewater treatment. |
| --- | --- |

| Classification | Water Industry > Wastewater Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation relevant to this unit standard includes the Health and Safety at Work Act 2015, Water Services Act 2021, Resource Management Act 1991, Hazardous Substances and New Organisms (HSNO) Act 1996, and any subsequent amendments.

3	Definitions

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Wastewater may include stormwater and sewage systems.

4	In the context of this unit standard, fixed growth reactor processes include the separation process.

5	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Describe fixed growth reactor processes in wastewater treatment.

Performance criteria

1.1	The purpose and principles of fixed growth reactor treatment are described in terms of the stabilisation and reduction of contaminants.

1.2	Plant configuration options for fixed growth reactor treatment are described in terms of their hydraulic layout options, return rates and ratios, advantages, and disadvantages.

Range	evidence of two plant configuration options is required.

1.3	The fixed growth reactor process is described in terms of the function of its component parts and identification of process failure.

1.4	Fixed growth reactor treatment is described in terms of the process outputs.

Range	Biochemical Oxygen Demand (BOD), total suspended solids, nutrients, indicator organisms.

Outcome 2

Monitor and adjust fixed growth reactor processes in wastewater treatment.

Performance criteria

2.1	Process tests are described for fixed growth reactor processes.

Range	includes but is not limited to – Dissolved Oxygen (DO) control, settleability.

2.2	The performance measures for fixed growth reactor treatment are described in terms of efficiency and downstream effects.

Range	BOD, total suspended solids, nutrients.

2.3	Testing equipment is calibrated, tests or measurements for monitoring process inputs are carried out, and results are recorded.

2.4	Process inputs are adjusted.

Range	reasons for adjustment – results of testing, analysis and identification of trends, response to process failure.

2.5	Any relevant consumables are checked and ordered.

Outcome 3

Carry out maintenance procedures on fixed growth reactor equipment in wastewater treatment.

Performance criteria

3.1	Preventative maintenance procedures are carried out and recorded.

3.2	Any required repairs are carried out according to process and/or equipment failure.

3.3	Actions for maintaining process continuity are carried out.

| Replacement information | This unit standard replaced unit standard 17886. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2023 |
| Review | 2 | 28 April 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihanga.nz if you wish to suggest changes to the content of this unit standard.