| Title | Carry out drinking-water treatment operations under supervision |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People credited with this unit standard are able to carry out drinking-water treatment processes under supervision. |
| --- | --- |

| Classification | Water Industry > Water Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation and references relevant to this unit standard include:  Health and Safety at Work Act 2015; Resource Management Act 1993; Hazardous Substances and New Organisms Act 1996;

Drinking-Water Standards for New Zealand, 2005 (Revised 2008). Ministry of Health, Wellington.

2	Definition

Organisational procedures – instructions to staff and procedures which are documented in memo or manual format and are available in the workplace.  These procedures include but are not limited to – site specific procedures, laboratory procedures, manufacturers’ specifications, product quality specifications and reference to legislative or regulatory procedures relevant to the industry.

3	For the purpose of this unit standard, candidates will be assessed against operations relevant to their own workplace.

Outcomes and performance criteria

Outcome 1

Carry out drinking-water treatment operations under supervision.

Performance criteria

1.1	Water treatment operations are carried out in accordance with organisational procedures.

1.2	Any chemicals associated with treatment processes are handled and stored in accordance with organisational procedures.

  - Any required adjustments to the process or equipment are made in accordance with instructions and organisational procedures.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2024 |
| Review | 2 | 24 February 2022 | 31 December 2024 |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.