| Title | Demonstrate knowledge of treated drinking-water supply processes and describe critical control points |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 20 |

| Purpose | People credited with this unit standard are able to: describe processes and their relationships in a drinking-water supply; and identify and describe hazards, critical control points, preventative actions, and corrective actions for drinking-water supply processes. |
| --- | --- |

| Classification | Water Industry > Water Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

- Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015, Water Services Act 2021, Hazardous Substances and New Organisms (HSNO) Act 1996, and subsequent amendments;

Ministry of Health, Drinking-water Standards for New Zealand, Ministry of Health, Wellington, 2005 (Revised 2018), and subsequent replacements, available at www.taumataarowai.govt.nz.

3	Definitions

Critical control points – Specific point, procedure, or step in drinking-water treatment processes at which control can be exercised to reduce, eliminate, or prevent the possibility of a public health hazard.

Drinking-water supply – supply catchment, treatment plant, distribution and tankers.  The drinking-water supplier has responsibility for managing the public health risks of the drinking-water supply.

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Range

Processes for which evidence is required include but are not limited to – clarification, pH and alkalinity control, coagulation and flocculation, filtration, disinfection, abstraction and pre-treatment, fluoridation, waste management, and organics and inorganics control.  Candidates are expected to be assessed against all relevant processes.

5	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Describe processes and their relationships in a drinking-water supply.

Performance criteria

  - Drinking-water supply processes are described in terms of purpose and components, and inter-relationships between processes.

  - Process chains are described in relation to the operation of the drinking-water supply.

  - Process control is described in terms of inputs and outputs.

  - Process monitoring equipment is described in terms of purpose and function.

  - Plans, drawings and specifications used in water supply processes are described in terms of their application.

1.6	Drinking-Water Standards for New Zealand parameters for each process are described in terms of water quality requirements.

Outcome 2

Identify and describe hazards, critical control points, preventative actions, and corrective actions for drinking-water supply processes.

Performance criteria

2.1	Hazards for each process are identified and described in terms of the causes of the events leading to their appearance, and the risk factors.

2.2	The critical control points related to drinking-water supply hazards are identified and described in terms of their management.

2.3	The preventative and corrective actions for events related to each hazard are described.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2024 |
| Review | 2 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.