| Title | Manage, monitor and optimise abstraction and pre-treatment processes for water sources of drinking-water |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 14 |

| Purpose | People credited with this unit standard are able to: manage, monitor and optimise abstraction and pre-treatment processes for water sources of drinking-water. |
| --- | --- |

| Classification | Water Industry > Water Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

- Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015, Water Services Act 2021, Hazardous Substances and New Organisms (HSNO) Act 1996 and subsequent amendments;

Ministry of Health, Drinking-water Standards for New Zealand, Ministry of Health, Wellington, 2005 (Revised 2018), and subsequent replacements, available at www.taumataarowai.govt.nz.

3	Definitions

Critical control points – Specific point, procedure, or step in water treatment processes at which control can be exercised to reduce, eliminate, or prevent the possibility of a public health hazard.

Drinking-water supply – the supply catchment, treatment plant, and distribution.  The drinking-water supplier has responsibility for managing the public health risks of the drinking-water supply.

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Optimise – adjusting plant input variables to make the process as effective as possible in order to achieve the desired output, taking into account the constraints of cost, human input, water quality, and water demand.

Water quality – the suitability of water for use as drinking-water, with or without water treatment.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Manage abstraction and pre-treatment processes for water sources of drinking-water.

Performance criteria

1.1	Process variables and critical control points are managed to achieve the required parameters, and maintain process performance.

1.2	Abstraction and pre-treatment equipment is managed.

Outcome 2

Monitor abstraction and pre-treatment processes for water sources of drinking-water.

Range	surface water, ground water, raw water storage.

Performance criteria

2.1	Monitoring is managed.

2.2	Data is collected, interpreted and reported.

Outcome 3

Optimise abstraction and pre-treatment processes for water sources of drinking-water.

Performance criteria

3.1	The abstraction and pre-treatment process variables and operating factors are adjusted to achieve optimal performance in accordance with the results of monitoring.

| Replacement information | This unit standard replaced unit standards 19347 and 24898. |
| --- | --- |

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2024 |
| Review | 2 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.