| Title | Describe and operate ozone disinfection processes in drinking-water treatment |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 8 |

| Purpose | People credited with this unit standard are able to: describe ozonation processes; monitor and adjust the ozone disinfection process; and carry out maintenance procedures on ozone disinfection equipment, in drinking-water treatment. |
| --- | --- |

| Classification | Water Industry > Water Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

- Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015, Water Services Act 2021, Hazardous Substances and New Organisms (HSNO) Act 1996, and subsequent amendments;

Ministry of Health, Drinking-water Standards for New Zealand, Ministry of Health, Wellington, 2005 (Revised 2018), and subsequent replacements, available at www.taumataarowai.govt.nz.

3	Definition

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Describe ozonation processes in drinking-water treatment.

Performance criteria

1.1	Regulations and drinking-water standards relevant to ozonation are described in terms of their purpose, requirements, and consequences of non-compliance.

1.2	Ozonation theory is described in terms of disinfection of water supplies.

Range	residuals, ozone half-life, pH effects, Ct values, vulnerability of pathogens, water quality parameters, ozone properties.

1.3	Disinfection of water supplies is described in terms of ozonation methods, and the way in which they are sourced.

1.4	Ozonation process is described in terms of the function of its component parts and identification of process failure.

1.5	Ozonation by-products are described in terms of the Drinking-water Standards for New Zealand.

Outcome 2

Monitor and adjust the ozone disinfection process in drinking-water treatment.

Range	ozone residual, ozone demand, water quality parameters, contact time, flow rate, temperature.

Performance criteria

2.1	Monitoring equipment is calibrated, if required, tests or measurements for monitoring the process are carried out, and results are recorded in accordance with Drinking-water Standards for New Zealand compliance requirements.

2.2	Process is adjusted.

Range	reasons for adjustment may include – results of monitoring and testing, analysis and identification of trends, response to process failure.

2.3	Consumables are checked and ordered.

Outcome 3

Carry out maintenance procedures on ozone disinfection equipment in drinking-water treatment.

Performance criteria

3.1	Preventative maintenance procedures are carried out and recorded.

3.2	Any required repairs are carried out according to process and/or equipment failure, and recorded.

3.3	Procedures for maintaining process continuity are carried out.

| Replacement information | This unit standard replaced unit standard 24954. |
| --- | --- |

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2024 |
| Review | 2 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.