| Title | Describe and operate inorganics control processes in drinking-water treatment |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 12 |

| Purpose | People credited with this unit standard are able to: describe inorganics control processes; monitor and adjust inorganics control processes; and carry out maintenance procedures on inorganics control equipment, in drinking-water treatment. |
| --- | --- |

| Classification | Water Industry > Water Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

- Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015, Water Services Act 2021, Hazardous Substances and New Organisms (HSNO) Act 1996, and subsequent amendments;

Ministry of Health, Drinking-water Standards for New Zealand, Ministry of Health, Wellington, 2005 (Revised 2018), and subsequent replacements, available at www.taumataarowai.govt.nz.

- Definitions

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Inorganics – inorganic compounds which may be present in raw water, that have an aesthetic or public health impact on water quality.

Inorganics control is the control of inorganic compounds in drinking-water which may negatively affect water quality.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Describe inorganics control processes in water treatment.

Performance criteria

  - Regulations and drinking-water standards relevant to inorganics control are described in terms of their purpose, requirements, and consequences of non-compliance.

  - The theory of inorganics control is described in terms of managing public health risk and aesthetics.

Range	includes but is not limited to inorganics – iron, manganese, ammonia, arsenic, boron.

1.3	Inorganics control methods are described in terms of operation and factors that affect performance.

Range	includes but is not limited to – aeration, potassium permanganate, ion exchange, pH, ozonation, chlorination.

1.4	Inorganics control processes are described in terms of the function of component parts and identification of process failure.

1.5	By-products of inorganics control processes are described in terms of the Drinking-water Standards for New Zealand.

Outcome 2

Monitor and adjust inorganics control processes in drinking-water treatment.

Performance criteria

2.1	Monitoring equipment is calibrated, if required, tests or measurements for monitoring processes are carried out, and results are recorded, in accordance with Drinking-water Standards for New Zealand compliance requirements.

2.2	Processes are adjusted.

Range	reasons for adjustment may include – results of monitoring and testing, analysis and identification of trends, response to process failure.

2.3	Consumables are checked and ordered.

Outcome 3

Carry out maintenance procedures on inorganics control equipment in drinking-water treatment.

Performance criteria

3.1	Preventative maintenance procedures are carried out and recorded.

3.2	Any required repairs are carried out according to process and/or equipment failure, and recorded.

3.3	Procedures for maintaining process continuity are carried out.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2024 |
| Review | 2 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.