| Title | Demonstrate knowledge of the regulatory framework relevant to drinking-water supply |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: identify and explain legislation, regulations, agencies, and cultural protocols that have an impact on drinking-water supply; and describe New Zealand’s drinking-water strategy, the application of the Drinking-Water Standards for New Zealand, and the application of Drinking-water Safety Plans. |
| --- | --- |

| Classification | Water Industry > Water Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015, Water Services Act 2021, Hazardous Substances and New Organisms (HSNO) Act 1996, Resource Management Act 1991, and subsequent amendments;

Ministry of Health, Drinking-water Standards for New Zealand, Ministry of Health, Wellington, 2005 (Revised 2018), and subsequent replacements, available at www.taumataarowai.govt.nz.

3	Definition

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Identify and explain legislation, regulations, agencies, and cultural protocols that have an impact on drinking-water supply.

Performance criteria

  - Acts relevant to drinking-water supply are identified and their purpose and impact on drinking-water supply management and systems are explained.

  - Regulations relevant to drinking-water supply are identified and their purpose and impact on drinking-water supply management and systems are explained.

  - Agencies relevant to drinking-water supply are identified and their purpose and impact on drinking-water supply management and systems are explained.

  - Cultural protocols relevant to drinking-water supply are identified and their purpose and impact on drinking-water supply management and systems are explained.

Outcome 2

Describe New Zealand’s drinking-water strategy.

Performance criteria

2.1	Drinking-water supplies are described in terms of sources, treatment plants, and distribution zones.

2.2	The New Zealand drinking-water strategy is described in terms of its historical context, and the relationship of its components.

Outcome 3

Describe the application of the Drinking-Water Standards for New Zealand.

Performance criteria

3.1	The Drinking-Water Standards for New Zealand are described in terms of the Health Act and regulatory framework for community drinking-water supplies in New Zealand.

3.2	Maximum Acceptable Values (MAVs) and determinands are described in terms of the Drinking-Water Standards.

Range	selection of determinands, priority classes for determinands, compliance and transgressions.

3.3	Compliance with biological, protozoal, viral, chemical, radiological and cyanobacterial MAVs is described in terms of the Drinking-Water Standards.

3.4	Small drinking-water supplies and tankered drinking-water supplies compliance requirements are described in terms of the Drinking-Water Standards for New Zealand.

3.5	Aesthetic assessment of a community drinking-water supply is described in terms of the Drinking-Water Standards for New Zealand.

3.6	Aggressive water, plumbosolvency, and corrosion metals are described and distinguished from Priority 2 metals in terms of the Drinking-Water Standards for New Zealand.

Outcome 4

Describe the application of Drinking-water Safety Plans.

Performance criteria

4.1	Drinking-water Safety Plans are explained in terms of requirements, purpose, and content.

4.2	Risk is described in terms of the concepts of identification, assessment, probability, and consequences.

4.3	Risk management is described in terms of preventive actions, contingency plans, and improvement schedules that would be included in a Water Safety Plan.

4.4	Drinking-water Safety Plans are described in terms of the relationship between the improvement schedule and other asset management systems.

4.5	Drinking-water Safety Plans are described in terms of the assessment process for adequacy, the outcome of the assessment process, and the procedures for implementation.

| Replacement information | This unit standard replaced unit standard 18440. |
| --- | --- |

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2024 |
| Review | 2 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.