| Title | Describe the regulatory framework and support tools relevant to the management of drinking-water supplies |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 8 |

| Purpose | People credited with this unit standard are able to describe: legislative mechanisms; support tools; and resource management tools relevant to the management of drinking-water supplies in New Zealand. |
| --- | --- |

| Classification | Water Industry > Water Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation and references relevant to this unit standard include: Health and Safety at Work Act 2015, Taumata Arowai – the Water Services Regulator Act 2020, Water Services Act 2021;

Ministry of Health, Drinking-water Standards for New Zealand, Ministry of Health,

Wellington, 2005 (Revised 2018), and subsequent replacements, available at www.taumataarowai.govt.nz; and

National Environmental Standard for Sources of Human Drinking Water 2008, available at https://environment.govt.nz/.

3	Definitions

Drinking-water supply – supply catchment, treatment plant, distribution and tankers.  The drinking-water supplier has responsibility for managing the public health risks of the drinking-water supply.

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Describe legislative mechanisms relevant to the management of drinking-water supplies in New Zealand.

Performance criteria

  - Acts relevant to management of drinking-water supplies in New Zealand are described in terms of purpose, administering agency, and key parts.

Range	includes but is not limited to – Health and Safety at Work Act 2015, Taumata Arowai – the Water Services Regulator Act 2020, Water Services Act 2021.

  - The relationship between tiers of statute is explained using frameworks relevant to the management of drinking-water supplies.

Range	may include – acts, regulations, national policy statements, standards, bylaws, codes of practice, guidelines.

  - Central, regional, and local government agencies relevant to management of drinking-water supply are described in terms of their functions, duties, and powers.

1.4	Legislative mechanisms for management of drinking-water supplies are described in terms of consequences of non-compliance.

Outcome 2

Describe support tools relevant to the management of drinking-water supplies in New Zealand.

Performance criteria

2.1	The Register of Drinking-Water Suppliers for New Zealand is described in terms of its location, purpose, and general content.

2.2	Drinking-Water Standards for New Zealand are described in terms of purpose and general content.

2.3	Drinking-water Safety Plans are described in terms of their role in drinking-water supply risk management.

2.4	The Register of Recognised Laboratories for New Zealand is described in terms of purpose and process for recognition.

Outcome 3

Describe resource management tools relevant to the management of drinking-water supplies in New Zealand.

Performance criteria

3.1		The National Environmental Standard for Sources of Human Drinking Water is described in terms of purpose and content.

3.2	District plans, regional plans, and regional policy statements relevant to management of drinking-water supplies are described in terms of their purpose and content.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2024 |
| Review | 2 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.