| Title | Undertake sampling and site testing procedures for drinking-water treatment |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | People credited with this unit standard are able to: collect and handle water samples for drinking-water treatment, and carry out site testing of water and any required adjustments in a drinking-water treatment plant. |
| --- | --- |

| Classification | Water Industry > Water Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

- Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015, Water Services Act 2021, Hazardous Substances and New Organisms (HSNO) Act 1996, and subsequent amendments;

Ministry of Health, Drinking-water Standards for New Zealand, Ministry of Health, Wellington, 2005 (Revised 2018) and subsequent amendments available at www.taumataarowai.govt.nz/.

3	Definition

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Collect and handle water samples for drinking-water treatment.

Performance criteria

1.1	Sampling sites and times are selected.

Range	sampling frequency, grab samples, containers, multiple sites.

1.2	Sample collection procedures are carried out.

Range	includes but is not limited to – collection methods, correct containers, sterility, flush volumes, representative samples, sample contamination, preservation of sample integrity.

1.3	Samples are labelled.

Range	includes but is not limited to – date, time, location, source, purpose, sampler.

1.4	Samples are handled and transported.

Range	may include but is not limited to – sample packing, temperature control, sunlight effects, timeliness, chain of custody.

Outcome 2

Carry out site testing of water and any required adjustments in a drinking-water treatment plant.

Performance criteria

2.1	Testing equipment is verified and calibrated in accordance with the Drinking-water Standards of New Zealand.

2.2	Site tests are carried out.

Range	must include – chlorine residual;

may include but is not limited to – jar test, ultraviolet transmissivity (UVT), turbidity, conductivity, pH, alkalinity, hardness, aluminium, iron, manganese, temperature.

2.3	Results of site testing are recorded.

2.4	Plant adjustments to maintain required operating parameters in the event of sample results outside operating guidelines are made.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2024 |
| Review | 2 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.