| Title | Describe and operate waste management processes in water treatment |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 8 |

| Purpose | People credited with this unit standard are able to: describe waste management processes; monitor and adjust the waste management process; and carry out maintenance procedures on waste management equipment in drinking-water treatment. |
| --- | --- |

| Classification | Water Industry > Water Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

- Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015, Water Services Act 2021, Hazardous Substances and New Organisms (HSNO) Act 1996, Resource Management Act 1991, and subsequent amendments;

Ministry of Health, Drinking-water Standards for New Zealand, Ministry of Health, Wellington, 2005 (Revised 2018), and subsequent replacements, available at www.taumataarowai.govt.nz.

3	Definition

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Describe waste management processes in drinking-water treatment.

Performance criteria

1.1	Regulations and drinking-water standards relevant to waste management are described in terms of their purpose, requirements, and consequences of non-compliance.

1.2	Waste management theory is described in terms of volumes and qualities of solid waste from the water treatment process, and their handling and disposal.

1.3	Waste management processes are described in terms of the function of component parts and identification of process failure.

1.4	Waste stream management is described in terms of the Drinking-water Standards for New Zealand.

Outcome 2

Monitor and adjust the waste management process in drinking-water treatment.

Performance criteria

2.1	Monitoring equipment is calibrated, if required, tests or measurements for monitoring the process are carried out, and results are recorded, in accordance with Drinking-water Standards for New Zealand compliance requirements.

2.2	Process is adjusted.

Range	reasons for adjustment may include – results of monitoring and testing, analysis and identification of trends, response to process failure.

2.3	Consumables are checked and ordered.

2.4	Final disposal complies with resource consent conditions and/or trade waste permits.

Outcome 3

Carry out maintenance procedures on waste management equipment in drinking-water treatment.

Performance criteria

3.1	Preventative maintenance procedures are carried out, and recorded.

3.2	Any required repairs are carried out according to process and/or equipment failure, and recorded.

3.3	Procedures for maintaining process continuity are carried out.

| Replacement information | This unit standard replaced unit standards 17901 and 24962. |
| --- | --- |

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2024 |
| Review | 2 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.