| Title | Manage assets and operational costs for a water or wastewater treatment plant |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 6 |

| Purpose | People credited with this unit standard are able to manage assets, and operational costs, for a water or wastewater treatment plant. |
| --- | --- |

| Classification | Water Industry > Water - Generic |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

- Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015, Water Services Act 2021, Hazardous Substances and New Organisms (HSNO) Act 1996, and subsequent amendments;

Ministry of Health, Drinking-water Standards for New Zealand, Ministry of Health, Wellington, 2005 (Revised 2018), and subsequent replacements, available at www.taumataarowai.govt.nz.

3	Definitions

Company policy is a deliberate system of principles developed by a company to guide decision making.  It outlines the organisation's response to known and knowable situations and circumstances, and is typically published in a booklet or other form that is widely accessible.

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Manage assets for a water or wastewater treatment plant.

Performance criteria

1.1	Asset management plans are described in terms of purpose, function, and methods for their development.

1.2	Plant asset data is identified from monitoring reports and used to develop an asset management plan.

1.3	Plant assets are managed in accordance with company policy.

Outcome 2

Manage operational costs for a water or wastewater treatment plant.

Performance criteria

2.1	Operational cost management is described in terms of method and information required for effective planning.

2.2	Operational costs for a water or wastewater treatment plant are identified from monitoring reports, and used to develop a management plan.

Range	labour, consumables, energy.

2.3	Operational costs are managed in accordance with company policy.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2024 |
| Review | 2 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.