| Title | Monitor and report on assets and describe operational costs for a water or wastewater treatment plant |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | People credited with this unit standard are able to: monitor and report on assets; and describe operational costs, for a water or wastewater treatment plant. |
| --- | --- |

| Classification | Water Industry > Water - Generic |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

- Legislation and references relevant to this unit standard include:

Health and Safety at Work Act 2015, Water Services Act 2021, Hazardous Substances and New Organisms (HSNO) Act 1996, and subsequent amendments.

3	Definition

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Monitor and report on assets for a water or wastewater treatment plant.

Performance criteria

1.1	The purpose and function of asset management is described for a treatment plant.

1.2	Plant asset data required for asset management is identified in terms of type and features.

1.3	Plant asset data required for asset management is described in terms of its use.

1.4	Plant asset data is monitored and reported, and action is taken on monitoring results outside acceptable parameters.

Outcome 2

Describe operational costs for a water or wastewater treatment plant.

Performance criteria

2.1	Operational cost components for a treatment plant are identified, and described in terms of monitoring and reporting requirements.

Range	labour, consumables, energy.

2.2	Operational costs are described in terms of their application in budgeting.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2024 |
| Review | 2 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.