| Title | Oversee contractors and visitors on a water or wastewater treatment plant site |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | People credited with this unit standard are able to: demonstrate knowledge of obligations regarding safety of visitors and contractors; oversee site induction of visitors and contractors; and oversee chain of custody for contractors, for a water or wastewater treatment plant site. |
| --- | --- |

| Classification | Water Industry > Water - Generic |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

- Legislation relevant to this unit standard includes the Health and Safety at Work Act 2015, Water Services Act 2021, and subsequent amendments.

- Definition

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of obligations regarding safety of visitors and contractors for a water or wastewater treatment plant site.

Performance criteria

  - Duties and responsibilities regarding safety of visitors and contractors are explained in accordance with workplace health and safety legislation.

Range	organisational, personal.

1.2	Consequences of failure to fulfil duties and responsibilities regarding safety of visitors and contractors are explained in accordance with workplace health and safety legislation.

1.3	Organisational procedures for overseeing safety of visitors and contractors are outlined in terms of specific tasks and processes and how they will be carried out.

Outcome 2

Oversee site induction of visitors and contractors for a water or wastewater treatment plant site.

Performance criteria

2.1	Checks to ensure safety of visitors and contractors are organised, carried out and recorded.

Range	appropriate personal protective equipment (PPE), proof of any required qualifications or competencies, emergency procedures, procedures for reporting incidents and hazards.

2.2	Sufficient information is provided to enable visitors and contractors to fulfil their objectives, including clarification of issues in response to questions.

2.3	Site security procedures are made clear and confirmation of understanding is sought.

Range	security of site, security of processes.

2.4	Visitors’ and contractors’ entries and exits are recorded.

Outcome 3

Oversee chain of custody for contractors for a water or wastewater treatment plant site.

Performance criteria

3.1	Contractors are checked in and out.

3.2	Work performed by contractors is overseen.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2024 |
| Review | 2 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.