| Title | Action and report on a switching instruction in the electricity supply industry |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | People credited with this unit standard are able to: describe the purpose of a switching instruction; action a switching instruction; and report switching actions, in the electricity supply industry. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Core Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to:

- Health and Safety at Work Act 2015;

- Electricity Act 1992;

- Electricity (Safety) Regulations 2010;

- Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) and relevant EEA guides available from www.eea.co.nz;

and any subsequent amendments and replacements.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements and standards; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Switching instruction is a planned sequence of operating actions (or a single action) that has been compiled in an approved format.  It is sometimes called an operating order or operating sequence.

Outcomes and performance criteria

Outcome 1

Describe the purpose of a switching instruction in the electricity supply industry.

Performance criteria

  - The purpose and reasons for a switching instruction are described.

Range	may include but is not limited to – switchgear operation, proof of de-energised equipment, security and safety measures, distribution equipment, switch and network ratings.

1.2	The situations when a switching instruction is not required are described.

Outcome 2

Action a switching instruction in the electricity supply industry.

Performance criteria

2.1	Equipment to be operated is identified.

Range	plant location, drawings, industry asset owner’s documentation.

2.2	Equipment is operated in accordance with planned sequence.

2.3	Safety measures for lockout process are actioned.

Range	may include but is not limited to – permit issuer, equipment locking and tagging.

2.4	Operating actions are communicated and recorded on switching instruction.

2.5	Ongoing liaison and communication requirements with affected parties are maintained.

Outcome 3

Report switching actions.

Range	may include but is not limited to – operating log, service report, work report, station operation log;

evidence of two reports is required.

Performance criteria

3.1	Information is recorded concisely in the required industry format and filed in the correct location.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 March 2017 | 31 December 2023 |
| Review | 2 | 30 September 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.