| Title | Demonstrate knowledge of gas transmission pipelines and distribution networks |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 6 |

| Purpose | People credited with this unit standard are able to, for a gas network: demonstrate knowledge of gas transmission pipelines and distribution networks, the end use and supply requirements of a gas network; gas network components and gas pressure; and describe the methods of handling, storage, and transportation of gas network components. |
| --- | --- |

| Classification | Gas Industry > Gas Network Operations |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable manufacturer’s specifications, company procedures and legislative requirements. This includes the knowledge and use of suitable tools and equipment.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of:

Health and Safety at Work Act 2015;

Health and Safety in Employment (Pipelines) Regulations 1999;

Gas Act 1992;

Gas (Safety and Measurement) Regulations 2010;

Resource Management Act 1991;

Hazardous Substances and New Organisms Act 1996;

AS/NZS 4645.1:2018 Gas distribution networks – Network management;

AS 2885.1-2018 Pipelines – Gas and liquid petroleum Design and construction;

AS 2885.3-2012 Pipelines – Gas and liquid petroleum Operation and maintenance;

and any subsequent amendments and replacements.

3	References

Australian standards (AS) may be found at www.standards.org.au;

Australian/New Zealand standards (AS/NZS) may be found at www.standards.govt.nz.

4	Any new, amended or replacement Acts, regulations, standards, codes of practice, guidelines, or authority requirements or conditions affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

5	The network does not include any piping downstream of the meter outlet or, where there is no gas measurement system, downstream of the custody transfer point.

6	Definition

Company procedures mean the documented methods for performing work activities, and include health and safety, operational, environmental, and quality management requirements.  They may refer to legislation, regulations, guidelines, standard operating procedures, manuals, codes of practice, or policy statements.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of gas transmission pipelines and distribution networks.

Performance criteria

1.1	Gas stations are described according to their function.

Range	compressor, gate, metering, scraper, main line valve, pressure control, pressure reduction, district regulator.

1.2	Equipment used in stations is described according to their function.

Range	inlet valve, separator, heater, filter, pressure control valve, pressure safety valve (relief and slam-shut), non-return valve, meter, corrector, outlet valve, odorant vessel, pig trap.

1.3	Gas transmission pipelines and distribution networks are described according to

their construction material and coatings.

Range	material – steel, high density polyethylene, polyethylene, cast iron;

coatings – coal tar enamel, extruded polyethylene, fusion bonded epoxy.

Outcome 2

Demonstrate knowledge of the end use and supply requirements of a gas network.

Performance criteria

2.1	Gas transmission pipelines are described according to services provided.

Range	distribution networks, direct supply to industrial customers.

2.2	A gas distribution network is described according to its end use.

Range	commercial, industrial, residential.

2.3	Gas transportation is described according to supply requirements.

Range	may include – flow, pressure, capacity, continuity, quality, odorisation, gas measurement.

Outcome 3

Demonstrate knowledge of gas network components.

Performance criteria

3.1	Gas network system components are described according to their function.

Range	pipes, tubing, fittings, flanges, gaskets.

3.2	Gas network system components are described according to their application.

Range	pipe standards, design codes, pressure rating.

3.3	Gas network system joints are described according to their application.

Range	steel welded, butt fusion, electrofusion, screwed, flanged, compression fittings, cathodic protection isolation kits, sealants.

3.4	Gas network system valves are described according to their function and application.

Range	may include – ball, plug, globe, gate, needle.

3.5	Gas network system valve actuators are described according to their function and application.

Range	manual, pneumatic, electric, hydraulic.

Outcome 4

Describe methods of handling, storage, and transportation of gas network components.

Performance criteria

4.1	Methods of identifying, handling, transporting, and storing gas network components are described.

Range	may include – badge plate, specifications, certificates, dust caps, packaging, sealing wire, weight.

Outcome 5

Demonstrate knowledge of gas pressure in a gas network.

Performance criteria

5.1	Types of gas pressure are defined.

Range	gauge, atmospheric, absolute.

5.2	Units of pressure and the relationship between them are defined.

Range	metric, imperial.

5.3	Pressure ranges in a gas network are defined according to NZS/AS 2885, AS/NZS 4645 and specific company operating pressures.

Range	low, medium, intermediate, high.

5.4	Devices for the measurement of gas pressure are described.

Range	may include – water gauge, bourdon tube gauge, pressure recorder, data logger, digital devices, pressure transducers, mercury gauges.

| Replacement information | This unit standard replaced unit standard 12520, unit standard 12521, unit standard 19541 and unit standard 19542. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 August 2017 | 31 December 2021 |
| Review | 2 | 27 February 2020 | N/A |
| Rollover | 3 | 30 January 2025 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0014 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.