| Title | Repair and refurbish construction stonemasonry |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 15 |

| Purpose | This unit standard is intended for those working in the stonemasonry industry. People credited with this unit standard are able to repair and refurbish construction stonemasonry to the level of performance required of a commercially competent construction stonemason. |
| --- | --- |

| Classification | Masonry > Stonemasonry |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Assessment

This unit standard is one of a family of standards intended to align with the New Zealand Certificate in Stonemasonry – Specifications, and the New Zealand Certificate in Stonemasonry (Level 4) with strands in Monumental Masonry, Construction Stonemasonry, and Natural Stone Fixtures and Fittings (with optional strands in Banker Masonry, and Conservation and Preservation) [Ref: 2737].

Evidence for this unit standard must reflect commercial competence.

Commercial competence requires the candidate to demonstrate knowledge and skills in the context of the currently accepted requirements of a business operating in a commercial environment.

Commercial competence must be confirmed by a person who has current expertise in the stonemasonry trade.

2	Definition

Workplace procedures refer to the documented procedures specific to a workplace which sets out the standard and the required practices of that workplace, which may include workplace codes of conduct, workplace safety policies and management plans, job specifications, and building requirements.

3	Legislation, standards and guidance information relevant to this standard includes the following, and any subsequent amendments and replacements:

- Health and Safety at Work Act 2015.

- New Zealand Building Code, available from Building Performance.

- New Zealand Certificate in Stonemasonry – Specifications, Waihanga Ara Rau, February 2023, available from www.waihangaararau.nz.

- NZS 3604:2011 Timber framed buildings, available from Standards New Zealand www.standards.govt.nz.

- Stonemasonry Best Practice Guide 2022, available from New Zealand Stone Masons Association New Zealand Stone Mason Association | Stonemasonry Best Practice Guide (nzsma.co.nz).

Skill specification and performance level guidance

Skill specification

Repair and refurbish construction stonemasonry.

Knowledge

The process to assess requirements for repairing and refurbishing stonemasonry.

The methods used to repair stonemasonry.

Range	includes – blending old and new materials.

The methods used to refurbish stonemasonry.

Skills

Repair stonemasonry.

Refurbish stonemasonry.

Performance level guidance

Performance must reflect workplace procedures, legislative requirements, New Zealand Standards, best practice guides, job documentation, and job specifications relevant to construction stonemasonry.

Performance must reflect repair and refurbishment of stonemasonry for structural and/or cladding applications.

| Planned review date | 31 December 2028 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 November 2017 | 31 December 2026 |
| Review | 2 | 28 September 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.