| Title | Demonstrate knowledge of electrical theory and lighting equipment for stage lighting for a performance or event |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to explain: electrical theory for stage lighting; the purpose and function of luminaires, effects, data distribution and control equipment for a performance or event; and the functions and qualities of light. |
| --- | --- |

| Classification | Performing Arts General > Entertainment and Event Technology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All learning and assessment leading to this unit standard must be carried out in accordance with the following as relevant:

- legislation including Health and Safety at Work Act 2015 and subsequent amendments;

- current industry best practice and industry guidelines (where available) including Safe Rigging Practices for the Entertainment Industry in New Zealand, June 2015, and A Guide for Safe Working Practices in the New Zealand Theatre & Entertainment Industry, April 2011, or replacements that supersede these guidelines, available from the WorkSafe website, www.worksafe.govt.nz.

2	The Entertainment and Event Technology programme guidance document should be consulted when developing assessments leading to this unit standard.  It can be found at www.skillsactive.org.nz.

3	Definition

DMX refers to a communication protocol, used to communicate between lighting consoles and other devices such as dimmers and intelligent fixtures.

Outcomes and performance criteria

Outcome 1

Explain electrical theory for stage lighting.

Performance criteria

1.1	Explain electrical systems in terms of stage lighting.

1.2	Use industry terminology to interpret lighting plan requirements.

1.3	Explain the difference and relative advantages of Class 1 and Class 2 electrical equipment, in terms of safety, earthing and testing requirements.

1.4	Explain components of simple dimmer and control circuits.

Outcome 2

Explain the purpose and function of luminaires, effects, data distribution and control equipment for a performance or event.

Performance criteria

2.1	Explain the types, purpose and function of luminaires or lighting instruments in terms of their use for entertainment and events.

2.2	Explain the purpose and function of optical systems in lighting instruments in terms of their use for entertainment and events.

2.3	Explain the importance of cleaning and maintaining optimum condition of luminaires in terms of optical performance.

2.4	Explain the types and purpose of effects equipment, lighting accessories, and control equipment in terms of their use for entertainment and events.

2.5	Explain the types and purpose of moving lights, lamps, and low voltage lights in terms of their use for entertainment and events.

2.6	Explain the types, purpose and function of data distribution in terms of its different parts and limitations.

Range	may include but is not limited to – DMX.

2.7	Explain risks and procedures to prevent accidents or injuries associated with lighting instruments in terms of safety guidelines.

Outcome 3

Explain the functions and qualities of light.

Performance criteria

3.1	Explain how light works and how the eye and brain process light and colour.

3.2	Explain the difference between additive and subtractive colour mixing.

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 September 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0099 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Skills Active Aotearoa Limited info@skillsactive.org.nz if you wish to suggest changes to the content of this unit standard.