| Title | Isolate and reinstate a section of electricity distribution network |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | This unit standard is for people working as control room controllers in a distribution electricity network. People credited with this unit standard are able to: demonstrate knowledge of the principles of isolating a section of the distribution network; isolate and reinstate a section of the distribution network. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Core Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance information

1	Safety of personnel and plant must be a priority throughout the assessment.  If the safety requirements are not met the assessment must stop.

2	Performance and work practices in relation to the outcomes and performance criteria must comply with:

- all current legislation, especially the Electricity Act 1992 and any subsequent amendments, as well as any regulations, codes of practice recognised under that statute;

- Health and Safety at Work Act 2015, the Resource Management Act 1991, and their subsequent amendments;

- electricity supply industry codes of practice and documented enterprise procedures.  These include updated versions of, Safety Manual – Electricity Industry (SM-EI) Wellington: Electricity Engineers’ Association, available from https://www.eea.co.nz/.

3	Industry and asset owner’s requirements include all industry and workplace documented policies, procedures, specifications, business and quality management relevant to the workplace where assessment is carried out.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of isolating a section of the electricity distribution network.

Performance criteria

1.1	Isolation and reinstatement procedures are located and explained in terms of industry and asset owner’s requirements.

1.2	Reasons for isolation are explained in terms of site specific examples.

Range	evidence is required of three site specific examples.

1.3	Electrical and mechanical isolation methods are explained in terms of their application.

1.4	Testing methods of verifying the integrity of the electrical and/or mechanical isolation are explained.

Range	evidence is required of two methods.

Outcome 2

Isolate a section of electricity distribution network in accordance with industry and asset owner’s requirements.

Range	electrical and/or mechanical isolation.

Performance criteria

2.1	Boundaries of isolation are identified.

2.2	Impact of isolation on the process.

2.3	Isolation documentation is prepared and verified.

2.4	Section of the network is isolated, and the isolation integrity is verified.

2.5	Isolation is documented and reported.

Outcome 3

Reinstate a section of electricity distribution network in accordance with industry and asset owner’s requirements.

Range	evidence is required of electrical and/or mechanical reinstatements.

Performance criteria

3.1	Section of the plant is verified as ready for reinstatement.

3.2	Reinstatement is prepared for, planned, and carried out.

Range	planning includes but is not limited to – authorisations, procedures, instructions.

3.3	Section of the distribution network is reinstated.

3.4	Network status is documented.

| Planned review date | 31 December 2023 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 September 2017 | 31 December 2019 |
| Review | 2 | 26 July 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Infrastructure ITO (Connexis) qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.