| Title | Make as-built drawings and record variations to job specifications for gasfitting jobs |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | This unit standard is for people who work, or intend to work, in gasfitting. People credited with this unit standard are able to make as-built drawings and record variations to job specifications for gasfitting jobs. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Gasfitting |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Health and Safety at Work Act 2015;

and their subsequent amendments and replacements.

2	Drawings may be plans as relevant to the gasfitting sector.  It is not expected that instruments will be used for drawing.  Drawings are to suit the purpose of worksite communication.

3	Definitions

Job documentation – drawings and job specifications.

Job requirements – specific requirements of the job at hand not covered by job specifications.

Job specifications – instructions (oral, written, graphic) and may include any of the following: manufacturer instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.  Where job specifications are in conflict with applicable legislation, standards, and/or codes, such legislation, standards, and/or codes shall take precedence for the purpose of assessment.

Approving authority – includes but is not limited – to territorial authorities, network utility operators, and building consent authorities.

4	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

Outcomes and performance criteria

Outcome 1

Make as-built drawings and record variations to job specifications for gasfitting jobs.

Performance criteria

1.1	Make as-built drawings in sufficient detail to determine if the requested work is compliant and if alterations are required during the work.

1.2	Make as-built drawings in sufficient detail to allow needed material, time, and equipment to be determined.

1.3	Make as-built drawings in sufficient detail to enable the designer to create a plan for approval or amend the original plan and submit it to the approving authority for approval.

| Replacement information | This unit standard, unit standard 30526, unit standard 30527, and unit standard 30529 replaced unit standard 21879 and unit standard 21882. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 September 2017 | 31 December 2028 |
| Review | 2 | 25 July 2024 | 31 December 2028 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.