| Title | Prepare as-built drawings and record variations to job specifications for drainlaying jobs |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 3 |

| Purpose | This unit standard is for people who work, or intend to work, in the drainlaying industry. People credited with this unit standard are able to prepare as-built drawings and record variations to job specifications for drainlaying jobs. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Drainlaying |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the:

Building Act 2004;

Health and Safety at Work Act 2015.

Any new, amended or replacement referenced standards, codes of practice, guidelines, Building Code Acceptable Solutions and Verification Methods, or authority requirements affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

2	Definitions

Approving authority includes but is not limited to regional councils, territorial authorities, unitary councils, network utility operators, and building consent authorities.

As-built refers to what is actually constructed as opposed to that which was designed.

Job specifications refer to instructions (oral, written, graphic) and may include any of the following – manufacturer instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.

3	Candidates must hold a current limited certificate trainee authorisation or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

4	Range

Evidence is required of two completed as-built drawings.

5	Level of performance

To achieve this standard the candidate must be capable of consistently performing the requirements:

- to current and relevant legislation, standards and codes (including safety);

- in an environmentally sustainable manner;

- within an acceptable timeframe;

- in the workplace;

- in different and unfamiliar contexts.

Outcomes and performance criteria

Outcome 1

Prepare as-built drawings and record variations to job specifications for drainlaying jobs.

Performance criteria

1.1	Prepare as-built drawings which include sufficient detail to accurately reflect variations to original plans and accurately record significant features.

Range 	features may include but are not limited to – outfall, invert depth, inspection opening, rodding point, measurements from defined points of reference, datum, legend, site details, other services.

1.2	Prepare as-built drawings in sufficient detail to enable submission of a plan to the approving authority.

| - Replacement information | - This unit standard, unit standard 30526, unit standard 30527, and unit standard 30528 replaced unit standard 21879 and unit standard 21882. |
| --- | --- |

| Planned review date | 31 December 2029 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 September 2017 | 31 December 2028 |
| Review | 2 | 30 May 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangararau.nz if you wish to suggest changes to the content of this unit standard.