| Title | Install, commission, and maintain on-site wastewater treatment systems |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 8 |

| Purpose | This unit standard is for people who work in the drainlaying industry. People credited with this unit standard are able to: - install and commission a septic tank; - install pumps, filters, and controls for a non-potable water supply and disposal system; - install an effluent disposal field; - maintain pumps, filters, and controls for a non-potable water supply and disposal system; and - maintain a septic tank and effluent disposal field. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Drainlaying |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Health Act 1956;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

Resource Management Act 1991;

The following standards are available at http://www.standards.govt.nz:

AS/NZS 1546.1:2008 On-site domestic wastewater treatment units – Septic tanks; AS/NZS 1547:2012 On-site domestic wastewater management; and

AS/NZS 3500.2:2003 Plumbing and drainage – Sanitary plumbing and drainage;

The following guides, which are available at http://www.worksafe.govt.nz/worksafe:

Good practice guidelines – Excavation safety, Wellington: WorkSafe New Zealand, 2016;

Guide for Safety with Underground Services, Wellington: Department of Labour, 2002.

The following clauses, and any related compliance documents are available at https://www.building.govt.nz/:

New Zealand Building Code Clause E1 Surface Water C;

New Zealand Building Code Clause G12 Water Supplies;

New Zealand Building Code Clause G13 Foul Water;

and all subsequent amendments and replacements.

2	This unit standard requires the application of theory as included in the Plumbers, Gasfitters, and Drainlayers Regulations 2010.

3	Definitions

Job specifications – instructions (oral, written, graphic) and may include any of the following: manufacturers’ instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.  Where job specifications are in conflict with applicable legislation, standards, and/or codes, such legislation, standards, and/or codes shall take precedence for the purpose of assessment.

On-site wastewater treatment system – single stage or proprietary, multi stage, septic tank; any associated pumps, filters, and controls; and evapotranspiration beds, soakage trenches, or soakage pits.

4	All practical activities are to be carried out in a way that avoids harm to people and damage to property, environment, existing installed services, materials, tools, and equipment.

5	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

Outcomes and performance criteria

Outcome 1

Install and commission a septic tank.

Range	a single stage or a proprietary, multi stage, septic tank.

Performance criteria

- 1.1	Ensure base is able to accept installation of the septic tank securely.

- 1.2	Install the tank and associated components in accordance with job specifications and manufacturer instructions.

- Range	access point, invert levels, benching, risers, cascades, lid and adjustment ring, filters, fresh air inlet.

- 1.3	Carry out commissioning in accordance with job specifications and manufacturer instructions.

Outcome 2

Install pumps, filters, and controls for a non-potable water supply and disposal system.

Performance criteria

- 2.1	Install pumps, filters, and controls for supply and disposal system in accordance with job specifications.

- 2.2	Carry out installation and commission tests in accordance with job specifications.

Outcome 3

Install an effluent disposal field.

Range	may include but is not limited to, drip lines, evapotranspiration bed, soakage trench;

evidence of one required.

Performance criteria

3.1	Determine the position of the proposed effluent disposal field in accordance with job specifications.

3.2	Confirm that the disposal field proposed in job specifications is appropriate for the intended use.

3.3	Install disposal field in accordance with job specifications.

3.4	Install appropriate control methods for protection of disposal field.

Range	surface water run-off, stock control, vehicle access.

Outcome 4

Maintain pumps, filters, and controls for a non-potable water supply and disposal system.

Performance criteria

- 4.1	Assess installed pumps, filters, and controls for supply and disposal system to identify regular and preventative maintenance requirements.

- 4.2	Identify faults in terms of causes and means of rectification.

4.3	Rectify faults in accordance with maintenance requirements and job specifications.

Outcome 5

Maintain a septic tank and effluent disposal field.

Performance criteria

- 5.1	Maintain a septic tank in accordance with maintenance requirements.

- 5.2	Identify an effluent disposal field fault in terms of cause/s and means of rectification.

- Range	one fault from one of the following, which may include but are not limited to – a distribution chamber, a dripper line, a flush valve, an air release valve, a filter.

- 5.3	Rectify an effluent disposal field fault in accordance with maintenance requirements and job specifications.

- Range	one fault from one of the following, which may include but are not limited to – a distribution chamber, a dripper line, a flush valve, an air release valve, a filter.

| Replacement information | This unit standard was replaced by unit standard 33357 and unit standard 33358. This unit standard and unit standard 30538 replaced unit standard 1112, unit standard 21904, unit standard 21946, unit standard 23846, and unit standard 27335. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 September 2017 | 31 December 2028 |
| Review | 2 | 30 May 2024 | 31 December 2028 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.