| Title | Install, secure, and maintain foul water systems in accordance with NZ Building Code G13 Acceptable Solution 1 |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | This unit standard is for people who work in the plumbing industry. People credited with this unit standard are able to: – install and secure foul water systems in buildings in accordance with Building Code Clause G13 Foul water – Acceptable Solution 1 and job specifications; and – maintain foul water systems in buildings. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Plumbing |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Building Regulations 1992;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

The following standards, which are available at https://www.standards.govt.nz:

AS/NZS 3500.2:2015 Plumbing and drainage – Sanitary plumbing and drainage,

NZS 3604:2011 Timber framed buildings,

NZS 5807:1980 Code of practice for industrial identification by colour, wording or other coding;

The following guides, which are available at http://www.worksafe.govt.nz:

Excavation Safety – Good practice Guidelines,

Underground services – Guide for safety with underground services;

The following clauses, current versions, and any related compliance documents, which are available at https://www.building.govt.nz:

New Zealand Building Code Clause G10 Piped Services,

New Zealand Building Code Clause G13 Foul Water;

and all subsequent amendments and replacements.

2	This unit standard requires the application of theory as included in the Plumbers, Gasfitters, and Drainlayers Regulations 2010.

3	Range

Pipework – must include unplasticised polyvinylchloride (uPVC), associated fittings; may include new or emerging products (polyethylene);

Traps – grease, trade waste, fixture traps, floor waste gully traps.

4	Definitions

Foul water systems – systems for conveying foul water to the outside of the building without leakage, blockage, or allowing foul air to enter the building.

Job specifications – instructions (oral, written, graphic) and may include any of the following: manufacturer instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.  Where job specifications are in conflict with applicable legislation, standards, and/or codes, such legislation, standards, and/or codes shall take precedence for the purpose of assessment.

Maintain may refer to all or any of – repair, upgrade, alter, remove, including preventative measures.

Other services – any existing installed services such as water, gas, electricity, or telephone network cables.

5	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

6	All practical activities must be carried out in a way that avoids harm to people and damage to property, environment, other services, materials, tools, and equipment.

Outcomes and performance criteria

Outcome 1

Install and secure foul water systems in buildings in accordance with Building Code Clause G13 Foul water – Acceptable Solution 1 and job specifications.

Range	single-level, multi-level up to three storeys.

Performance criteria

1.1	Joint pipes using methods and fittings appropriate to the material being joined.

1.2	Join pipes of different materials.

Range	may include cast iron, copper, earthenware, lead.

- 1.3	Identify system connection and termination points.

- 1.4	Connect pipework to connection and termination points.

- 1.5	Connect foul water pipework to sanitary fixtures.

- 1.6	Connect venting pipework to foul water system.

- 1.7	Carry out soundness tests.

- 1.8	Protect system components against physical damage.

- 1.9	Label pipework by system and/or colour and direction of flow, as appropriate.

- 1.10	Secure pipework.

Outcome 2

Maintain foul water systems in buildings.

Performance criteria

- 2.1	Assess installed foul water systems to identify faults in accordance with maintenance requirements and relevant standards and codes.

- 2.2	Rectify faults in accordance with maintenance requirements, job specifications, and relevant standards and codes.

- 2.3	Perform regular or preventative maintenance in accordance with predetermined requirements.

- 2.4	Perform appropriate post maintenance commissioning processes.

| Replacement information | This unit standard, unit standard 30542, and unit standard 30544 replaced unit standard 2144. |
| --- | --- |

This unit standard is expiring. Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 October 2017 | 31 December 2028 |
| Review | 2 | 30 May 2024 | 31 December 2028 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.