| Title | Maintain structural integrity and weather tightness of building penetrations |
| --- | --- |
| Level | 4 | Credits | 7 |

| Purpose | This unit standard is for people who work in the plumbing or gasfitting industries. People credited with this unit standard are able to: – install flashings for pipework penetrations through exterior claddings; and – fire rate penetrations to main integrity of fire cell. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Core Plumbing, Gasfitting, and Drainlaying |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

The following standards, which are available at http://www.standards.govt.nz:

NZS 3604:2011, Timber-framed buildings;

NZS 4219:2009, Seismic performance of engineering systems in buildings;

The following clauses, current versions, and any related compliance documents, which are available at https://www.building.govt.nz:

New Zealand Building Code Clause B1 Structure,

New Zealand Building Code Clause C Protection from fire,

New Zealand Building Code Clause E2 External moisture,

New Zealand Building Code Clause E3 Internal moisture,

New Zealand Building Code Clause G11 Gas as an energy source;

and all subsequent amendments and replacements.

2	This unit standard requires the application of theory as included in the Plumbers, Gasfitters, and Drainlayers Regulations 2010.

3	Definition

Job specifications – instructions (oral, written, graphic) and may include any of the following: manufacturer instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.  Where job specifications are in conflict with applicable legislation, standards, and/or codes, such legislation, standards, and/or codes shall take precedence for the purpose of assessment.

4	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

5	All practical activities are to be carried out in a way that avoids harm to people and damage to property, environment, existing installed services, materials, tools, and equipment.

Outcomes and performance criteria

Outcome 1

Install flashings for pipework penetrations through exterior claddings.

Performance criteria

1.1	Select suitable materials with regard to the pipework and roofing/cladding material being penetrated.

1.2	Design flashings to meet the requirements of New Zealand Building Code Clause E2 AS1.

1.3	Form flashing to job specifications.

1.4	Install flashing to job specifications.

Outcome 2

Fire rate penetrations to main integrity of fire cell.

Range	through fire rated plaster board, through concrete.

Performance criteria

2.1	Select suitable products with regard to the pipework and fire rated element being penetrated, in accordance with job specifications.

Range	must include but is not limited to – collar, wrap.

2.2	Fire rate penetrations to job specifications.

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 September 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.