| Title | Demonstrate knowledge of gas boosted solar water heating systems and hydronic heating |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | This unit standard is for people who work in the gasfitting and plumbing industries. People credited with this unit standard are able to demonstrate knowledge of: – gas boosted solar water heating systems; and – hydronic heating systems. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Core Plumbing, Gasfitting, and Drainlaying |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Electricity Act 1992;

Gas Act 1992;

Gas Regulations 1993;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

NZS 5261:2003 Gas installation, available at http://www.standards.govt.nz;

The following clauses, and any related compliance documents, are available at https://www.building.govt.nz:

New Zealand Building Code, Clause E2 External Moisture,

New Zealand Building Code Clause G11 Gas as an Energy Source;

and all subsequent amendments and replacements.

2	Credit for this unit standard does not entitle the candidate to legally perform certain electrical aspects of this work unless registered or supervised by a registered person under the provisions of the Electricity Act 1992.

3	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of gas boosted solar water heating systems.

Performance criteria

1.1	Explain process to isolate heating unit from water supply.

1.2	Identify components and explain their purpose and function.

Range	circulating pipes and pump, solar collector, diversion valve.

- Outcome 2

Demonstrate knowledge of hydronic heating systems.

Performance criteria

2.1	Identify the implications of type of water supply to a hydronic heating system.

Range	mains connected water supply, expansion chamber supplied.

- 2.2	Identify components of a hydronic heating system and explain their purpose and function.

Range	circulating pipes, radiators, different types of heat source, circulating pump, flow control valves for zoning, corrosion inhibitor.

This unit standard is expiring. Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 October 2017 | 31 December 2028 |
| Review | 2 | 30 May 2024 | 31 December 2028 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.