| Title | Demonstrate knowledge of pumps used for water supply and disposal systems in plumbing |
| --- | --- |
| Level | 4 | Credits | 3 |

| Purpose | This unit standard is for people who work in the plumbing industry. People credited with this unit standard are able to: – demonstrate knowledge of pumps used for water supply and disposal systems; – determine pumping requirements for water supply and disposal systems; and – demonstrate knowledge of regulatory requirements, selection of methods and materials, and underpinning concepts and principles, as applied to pumps and controls for water supply and disposal systems. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Plumbing |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

Resource Management Act 1991;

Water Supplies Protection Regulations 1961;

The following standards, which are available at http://www.standards.govt.nz:

AS/NZS 3500.1:2003 Plumbing and drainage – Water services

AS/NZS 3500.2:2003 Plumbing and drainage – Sanitary plumbing and drainage,

NZS 3604:1999 Timber Framed Buildings;

The following clauses, and any related compliance documents, which are available at https://www.building.govt.nz/:

New Zealand Building Code Clause G10 Piped Services,

New Zealand Building Code Clause G12 Water Supplies,

New Zealand Building Code Clause G13 Foul Water;

and their subsequent amendments and replacements.

2	Range

pumps – reciprocating, rotary (centrifugal, gear), hydraulic ram.

3	Credit for this unit standard does not entitle the candidate to legally perform certain electrical aspects of this work unless registered or supervised by a registered person under the provisions of the Electricity Act 1992.

4	Definitions

Job requirements – specific requirements of the job at hand not covered by job specifications.

Job specifications – instructions (oral, written, graphic) and may include any of the following: manufacturers’ instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.  Where job specifications are in conflict with applicable legislation, standards, and/or codes, such legislation, standards, and/or codes shall take precedence for the purpose of assessment.

5	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of pumps used for water supply and disposal systems.

Performance criteria

1.1	Identify types of pumps and explain their application to water supply and disposal systems in plumbing.

Outcome 2

Determine pumping requirements for water supply and disposal systems.

Performance criteria

2.1	Determine the pumping requirements of the system in accordance with user and/or owner’s requirements and job specifications.

2.2	Describe appropriate pumps, filters, and controls for water supply and disposal systems in accordance with job specifications.

Range	may include but is not limited to – suction lift, viscosity, water type, delivery head, required flow rate, frictional head loss.

Outcome 3

Demonstrate knowledge of regulatory requirements, selection of methods and materials, and underpinning concepts and principles, as applied to pumps and controls for water supply and disposal systems.

Performance criteria

3.1	Describe the application of relevant sections of legislation, standards, and codes to the selection of pumps and controls for water supply and disposal systems.

3.2	Justify the selection of methods and materials.

Range	job specifications, operation of the installed system and components, prudent use and longevity of materials;

may include job requirements.

3.3	Explain underpinning concepts and principles in terms of their application to pumps and controls for water supply and disposal systems.

Range	atmospheric pressure, corrosion, expansion and contraction, friction, hydrostatics and hydraulics, siphon.

| Replacement information | This unit standard replaced unit standard 2149. |
| --- | --- |

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 October 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.