	NZQA unit standard
	30606 version 2

	
	Page 1 of 1



	Title
	Determine water supply requirements in buildings, install and support water supply pipework

	Level
	3
	Credits
	6


	Purpose
	This unit standard is for people who work, or intend to work, in the plumbing industry.

People credited with this unit standard are able to:

–
determine water supply requirements in buildings; and
–
install and support water supply pipework in buildings.


	Classification
	Plumbing, Gasfitting and Drainlaying > Plumbing


	Available grade
	Achieved


Guidance Information
1
Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the:
Health Act 1956.
Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

Resource Management Act 1991.
The following standards, which are available at http://www.standards.govt.nz:
AS/NZS 3500.1:2021 Plumbing and drainage, Part 1: Water services,

AS/NZS 3500.4:2021 Plumbing and drainage, Part 4: Heated water services,

NZS 3604:2011 Timber-framed buildings.
The following guides, which are available at http://www.worksafe.govt.nz:
Excavation Safety – Good practice Guidelines, 

Underground services – Guide for safety with underground services.
The following Building Code clauses, and any related Acceptable Solution and Verification Method documents, which are available at https://www.building.govt.nz/:
New Zealand Building Code Clause G10 Piped Services,
New Zealand Building Code Clause G12 Water Supplies.

Any new, amended or replacement referenced standards, codes of practice, guidelines, Building Code Acceptable Solutions and Verification Methods, or authority requirements affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.
2
Definitions


Job requirements refer to specific requirements of the job at hand not covered by job specifications.

Job specifications refer to instructions (oral, written, graphic) and may include any of the following – manufacturer instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.


Maintain may refer to all or any of – repair, upgrade, alter, remove.


Water supply pipework refers to pipe, fittings and associated valves and components used or intended to be used for the reticulation of water to sanitary fixtures, sanitary appliances and fittings within a building.

3
This unit standard applies to the installation of water supply pipework above and below the ground but does not apply to the installation of water mains under control of a network utility operator.

4
Assessment information

All work must be completed in accordance with job specifications and relevant standards and codes.

5
Range


Water supply pipework may include – copper, galvanised mild steel, polybutylene, polyethylene, unplasticised polyvinylchloride (uPVC), cross-linked polyethylene, polypropylene, and associated fittings;


evidence is required for copper and two other materials;

Jointing methods – are determined according to the material being joined, and may include brazing/capillary, compression, crimp, crox, flange, fusion weld, solvent weld, press fit, push fit, screwed thread, sliding sleeve;

evidence is required for brazing and two other methods.
Outcomes and performance criteria
Outcome 1
Determine water supply requirements in buildings.

Performance criteria
1.1
Select size of pipe according to available pressure (head), delivery rate requirements, and job specifications.
Outcome 2
Install and support water supply pipework in buildings.
Performance criteria
2.1
Cut pipes to size accurately.

2.2
Support water supply pipework in accordance with the requirements of the Building Act 2004.

2.3
Joint pipes using methods and fittings appropriate to the material being joined.

2.4
Carry out soundness tests in accordance with the requirements of the Building Act 2004.

2.5
Protect water supply pipework against physical damage in accordance with the requirements of the Building Act 2004.

Range
may include corrosion and erosion, ultra-violet light, expansion, contraction, vibration and impact, seismic activity, freezing, heating, abrasion resistance, other environmental factors – such as damage caused by vermin or rodents;

evidence of four is required.

	Replacement information
	This unit standard and unit standard 30605 replaced unit standard 2143.


	Planned review date
	31 December 2029


Status information and last date for assessment for superseded versions

	Process
	Version
	Date
	Last Date for Assessment

	Registration
	1
	26 October 2017
	31 December 2028

	Review
	2
	30 May 2024
	N/A


	Consent and Moderation Requirements (CMR) reference
	0003


This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.

	Waihanga Ara Rau Construction and Infrastructure Workforce Development Council
SSB Code 6046
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2024



