| Title | Demonstrate knowledge of the installation and maintenance of solid fuel space heaters and flues |
| --- | --- |
| Level | 4 | Credits | 3 |

| Purpose | This unit standard is for people who work, or intend to work, in the plumbing industry. People credited with this unit standard are able to: – demonstrate knowledge of regulatory requirements, selection of methods and materials, and underpinning concepts and principles, as applied to the installation and maintenance of solid fuel space heaters and flues; – describe positioning of solid fuel space heaters and flues; – describe installation of solid fuel space heaters and flues; and – demonstrate knowledge of maintaining solid fuel space heaters and flues. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Plumbing |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

Resource Management Act 1991;

Resource Management (National Environmental Standards Relating to Certain Air Pollutants, Dioxins, and Other Toxics) Regulations 2004;

The following standards, which are available at http://www.standards.govt.nz:

AS/NZS 2918:2001 Domestic solid fuel burning appliances – Installation,

NZS 3604:2011 Timber-framed buildings,

AS/NZS 4013:2014 Domestic solid fuel burning appliances – Method for determination of flue gas emission;

The following clauses, and any related compliance documents, which are available at https://www.building.govt.nz/:

New Zealand Building Code Clause B1 structure,

New Zealand Building Code Clause B2 Durability,

New Zealand Building Code Clause E2 External moisture,

New Zealand Building Code Clause C2 Prevention of fire occurring.

and all subsequent amendments and replacements.

2	Definitions

Job requirements – specific requirements of the job at hand not covered by job specifications.

Job specifications – instructions (oral, written, graphic) and may include any of the following: manufacturer instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.  Where job specifications are in conflict with applicable legislation, standards, and/or codes, such legislation, standards, and/or codes shall take precedence for the purpose of assessment.

Maintain may refer to all or any of – repair, upgrade, alter, remove.

3	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of regulatory requirements, selection of methods and materials, and underpinning concepts and principles, as applied to the installation and maintenance of solid fuel space heaters and flues.

Performance criteria

1.1	Describe applicable sections of legislation, standards, and codes in terms of their application to the installation and maintenance of solid fuel space heaters and flues.

1.2	Justify selection of methods and materials.

Range	job specifications, operation of the installed system and components, prudent use and longevity of materials;

may include job requirements.

1.3	Explain underpinning concepts and principles in terms of their application to the installation and maintenance of solid fuel space heaters and flues.

Range	combustion, conduction, convection, dew point, radiation.

1.4	Explain the implications on the installation of solid fuel space heaters of differences in fuel source.

Range	wood, coal, pellet, alternative fuel sources.

Outcome 2

Describe positioning of solid fuel space heaters and flues.

Range	inbuilt, insert, freestanding, alternative applications.

Performance criteria

2.1	Describe how to position solid fuel space heaters and flues to measurements in accordance with job specifications and relevant standards and codes.

Range	combustion clearances, heat shields, structural integrity.

Outcome 3

Describe the installation of solid fuel space heaters and flues.

Performance criteria

3.1	Describe appropriate selection of solid fuel space heaters and flues in relation to job specifications and regulatory requirements.

3.2	Describe installation of solid fuel space heaters and flues in accordance with job specifications and relevant standards and codes.

3.3	Describe commissioning tests in accordance with relevant standards, codes, and manufacturer instructions.

Range	flue spillage, emission and smoke, appliance surface temperatures, integrity of installation.

3.4	Explain content and importance of hand-over briefing to customer on completion of installation.

Outcome 4

Describe the maintenance of solid fuel space heaters and flues.

Performance criteria

4.1	Describe how to identify faults in terms of causes and means of rectification.

4.2	Describe the rectification of faults in accordance with maintenance requirements and job specifications.

| Replacement information | This unit standard and unit standard 30608 replaced unit standard 2153. |
| --- | --- |

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 October 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.