| Title | Demonstrate knowledge of the installation, testing, commissioning, and maintenance of solar water heating systems |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | This unit standard is for people who work, or intend to work, in the plumbing industry. People credited with this unit standard are able to: – demonstrate knowledge of regulatory requirements, selection of methods and materials, and underpinning concepts and principles, as applied to the installation, commissioning, testing, and maintenance of solar water heating systems; – describe solar water heating systems; – demonstrate knowledge of preparation for installation of solar water heating systems; – describe the installation, commissioning, and testing of solar water heating systems; and – describe the maintenance of solar water heating systems. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Plumbing |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the:

Building Act 2004;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

The following standards, which are available at http://www.standards.govt.nz:

AS/NZS 2712:2007 Solar and heat pump water heaters – Design and construction,

AS/NZS 3500.4:2021 Plumbing and drainage, Part 4: Heated water services,

AS/NZS 5601.1:2013 Gas installations, Part 1: General installations,

NZS 3604:2011 Timber-framed buildings.

The following Building Code clauses, and any related Acceptable Solution and Verification Method documents, which are available at https://www.building.govt.nz/:

New Zealand Building Code Clause E1 Surface Water,

New Zealand Building Code Clause E2 External Moisture,

New Zealand Building Code Clause G10 Piped Services,

New Zealand Building Code Clause G12 Water Supplies.

Any new, amended or replacement referenced standards, codes of practice, guidelines, Building Code Acceptable Solutions and Verification Methods, or authority requirements affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

2	Definitions

Job requirements refer to specific requirements of the job at hand not covered by job specifications.

Job specifications refer to instructions (oral, written, graphic) and may include any of the following – manufacturer instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.

Maintenance may refer to all or any of – repair, upgrade, alteration, removal.

3	Candidates must hold a current limited certificate trainee authorisation or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

4	Range

Solar water heating systems include – direct and in-direct heating, thermosiphon, pump.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of regulatory requirements, selection of methods and materials, and underpinning concepts and principles, as applied to the installation, commissioning, testing, and maintenance of solar water heating systems.

Performance criteria

- 1.1	Describe applicable sections of legislation, standards, and codes in terms of their application to the installation, commissioning, testing, and maintenance of solar water heating systems.

1.2	Justify selection of methods and materials.

Range	job specifications, job requirements, operation of the installed system and components, suitability and durability of materials.

- 1.3	Explain underpinning concepts and principles in terms of their application to the installation, commissioning, testing, and maintenance of solar water heating systems.

Range	capillary attraction, corrosion, friction, heat transfer, point loading, seismic forces, structural support, thermosiphon, wind forces, wind loading, flow rate, collector size, collector types, solar angle considerations.

Outcome 2

Describe solar water heating systems.

Performance criteria

2.1	Describe types of solar water heating systems in terms of their operation and components.

Range	operation – pump systems, thermosiphon systems, direct and in-direct;

components – collector, tank, pump, controllers, pipework, valving, dosing tanks.

- 2.2	Describe solar water heating systems in terms of loading support and fixing requirements.

- 2.3	Describe solar water heating systems in terms of penetrations and weather tightness.

Outcome 3

Demonstrate knowledge of preparation for installation of solar water heating systems.

Performance criteria

- 3.1	Explain how to obtain building consent in accordance with job specifications.

- 3.2	Describe the confirmation of positioning, pipework layout, and structural and aesthetic requirements in accordance with job specifications and customer requirements.

- 3.3	Describe safety requirements relating to working at heights and lifting loads in accordance with relevant legislation and codes.

- 3.4	Describe the preparation of materials and equipment in accordance with job specifications and job requirements.

Outcome 4

Describe the installation, commissioning, and testing of solar water heating systems.

Performance criteria

- 4.1	Describe the confirmation of fixing and/or support in accordance with job specifications.

- 4.2	Describe the installation of brackets and any other required fixing support in accordance with job specifications.

- 4.3	Describe requirements for the maintenance of weather tightness when making penetration for pipes and/or wiring in accordance with job specifications.

- 4.4	Describe the installation and connection of required pipework.

- 4.5	Describe requirements for any needed wiring to be installed and connected by other trade personnel.

- 4.6	Describe the commissioning, testing, and dosing systems in accordance with relevant legislation, standards, and codes.

Outcome 5

Describe the maintenance of solar water heating systems.

Performance criteria

- 5.1	Describe the identification of faults in terms of causes and means of rectification.

- 5.2	Describe the rectification of faults in accordance with maintenance requirements, job specifications, and relevant standards and codes.

| Replacement information | This unit standard and unit standard 30611 replaced unit standard 24305. |
| --- | --- |

| Planned review date | 31 December 2029 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 October 2017 | 31 December 2028 |
| Review | 2 | 30 May 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.