| Title | Select, install, and commission basic extra-low voltage and low voltage customer premises systems |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 15 |

| Purpose | This unit standard covers the selection, installation and commissioning of basic extra-low voltage and low voltage customer premises systems cabling, equipment, systems, and services. It also covers the interconnection of associated services to achieve optimal performance. People credited with this unit standard are able to: – select and install cable support systems and cables for basic extra-low voltage and low voltage customer premises systems; – install equipment for basic extra-low voltage and low voltage customer premises systems; and – test and commission basic extra-low voltage and low voltage customer premises system installations. |
| --- | --- |

| Classification | Electrical Engineering > Electrotechnology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

| Prerequisites | Unit 27911, Demonstrate knowledge of workplace safety in an electrotechnology or telecommunications environment; Unit 30647, Apply safe working procedures and practices in an electrotechnology environment and identify and control special hazards; Unit 30648, Demonstrate knowledge of installation practices and procedures for customer premises systems; or demonstrate equivalent skills and knowledge. |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job.

2	References

AS/NZS ISO/IEC 15018:2019, Information technology - Generic cabling for homes;

AS/NZS 3000:2007– Electrical installations (known as the Australia/New Zealand Wiring Rules);

AS/NZS 3080:2013, Information technology - Generic cabling for commercial premises;

TIA/EIA-568A – Commercial Building Wiring Standard;

Building Act 2004;

Electricity Act 1992;

Electricity (Safety) Regulations 2010;

Health and Safety at Work Act 2015;

Telecommunications Act 2001;

Resource Management (National Environmental Standards for Telecommunication Facilities) Regulations 2016;

Local Body regulations;

Telecommunications Carriers’ Forum Code for Residential, SOHO and Multi-dwelling Premises Wiring (Premises Wiring Code of Practice) (2011) available at https://1library.net/document/zp7jv37z-telecommunications-carriers-residential-dwelling-premises-wiring-premises-practice.html;

and all subsequent amendments and replacements.

3	Definitions

CPE – Customer Premises Equipment.

Frames – structures into which an equipment cabinet, or equipment rack, is mounted.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

ICT – Information and Communications Technology

Remote access – access to installed equipment by a management or operations centre of a service provider.

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000:2007, Electrical Installations (known as the Australian/New Zealand Wiring Rules).

4	Range

a	Evidence is required of at least four basic installations covering at least two different types of cable and two different types of equipment under limited supervision.

b	The assessment of this unit standard must be related to the candidate’s area of workplace practice, and must be completed within industry acceptable time frames.

c	Demonstration of safe working practices in accordance with safe and sound practice are essential components of assessment of this unit standard.

d	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010;

v	applicable site, enterprise, and industry practice; and,

vi	where appropriate, manufacturer instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Select and install cable support systems and cables for basic extra-low voltage and low voltage customer premises systems.

Performance criteria

1.1	Select and install cable support systems for each given application.

Range	support systems may include but are not limited to − cable tray, ladder rack, trunking, conduit, aerial support systems, catenary wire;

mounting hardware – fittings, fixtures, fastenings;

evidence of three support systems is required across the installations.

1.2	Select and install common cables for each given application.

Range	cables may include but are not limited to − copper, coaxial cable, fibre, multi-pair cable;

applications may include but are not limited to − CPE, broadcasting, radio systems, access network, core network, signals and communications;

installation may include but is not limited to – terminations, joints, use of colour code, use of appropriate tools and equipment, limitations of methods and techniques used for a given application.

1.3	Demonstrate management practices for cable support systems during installation.

Range	management practice – bend radius, securing, grounding, bonding, labelling, support, separation of services, future expansion;

support systems may include but are not limited to − cable tray, ladder rack, trunking, conduit, aerial, buried.

1.4	Consider relevant environmental conditions when performing installations.

Range	relevant environmental considerations may include but are not limited to – moisture ingress, insect and vermin ingress, corrosion, ventilation, equipment protection, cable protection, lightning protection, dust control, water and spoil management, fire stopping;

evidence is required for all environmental considerations relevant to the installation used for assessment.

Outcome 2

Install equipment for basic extra-low voltage and low voltage customer premises systems.

Performance criteria

2.1	Install frames, cabinets, and/or boards and related ICT systems for each given application.

Range	may include but is not limited to − cabinets racks, frames, distribution boards, gateways, network rack, construction, seismic suitability, suitability for loads;

locations may include but are not limited to – equipment room/closet, patch-panels, cabinets, pedestals, pit, manhole;

mounting methods may include but are not limited to – wall mount, pole mount, plinth, rack mount, underground.

2.2	Consider relevant environmental conditions when performing installations.

Range	relevant environmental considerations may include but are not limited to – moisture ingress, insect and vermin ingress, corrosion, ventilation, equipment protection, cable protection, lightning protection, dust control, water and spoil management, fire stopping;

evidence is required for all environmental considerations relevant to the installation used for assessment.

Outcome 3

Test and commission basic extra-low voltage and low voltage customer premises system installations.

Performance criteria

3.1	Complete common commissioning testing to ensure installation meets minimum standards.

Range	types of tests – visual inspections, polarity, functional tests, end to end tests, remote access;

test – safety, harm to equipment, damage to cabling, incorrect function, faults.

3.2	Prepare documentation as required before handover of installation.

Range	may include but is not limited to – technical test results, as built technical diagrams, customer documentation.

3.3	Prepare installation site and removal of waste from site for handover of installation to meet stakeholder satisfaction.

3.4	Complete handover procedures for the installation to meet stakeholder satisfaction and company handover procedure.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 14 December 2017 | 31 December 2024 |
| Review | 2 | 2 March 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.