| Title | Demonstrate knowledge of the installation and commissioning of electrically controlled gas appliances and equipment |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | This unit standard is for people who work in the gasfitting industry. People credited with this unit standard are able to demonstrate knowledge of: – the installation of electrically controlled gas appliances and equipment; – commissioning electrically controlled gas appliances and equipment; and – regulatory requirements, and underpinning concepts and principles, as applied to the installation, commissioning, and maintenance of electrically controlled gas appliances and equipment. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Gasfitting |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Electricity Act 1992;

Gas Act 1992;

Gas (Safety and Measurement) Regulations 2010;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

The following standards, which are available at http://www.standards.govt.nz:

AS/NZS 5601.1:2013 Gas installation,

AS/NZS 5601.2:2013 LP Gas installations in caravans and boats for non-propulsive purposes,

NZS 3604:1999 Timber Framed Buildings;

The following clauses, and any related compliance documents, which are available at https://www.building.govt.nz/:

New Zealand Building Code Clause E2 External moisture,

New Zealand Building Code Clause G11 Gas as an Energy Source;

and all subsequent amendments and replacements.

2	Range

Two gas cooking appliances which may include but are not limited to – domestic and commercial ovens, ranges, grills, fryers, baking ovens, steam ovens;

two space gas heating appliances;

two central gas heating appliances;

two gas water heating appliances which may include but are not limited to – continuous flow water heaters, storage water heaters, pool heaters, spa pool heaters, indirect heated water heaters, boilers.

3	Definitions

Electrically controlled gas appliances – mains power supplied electrically controlled gas appliances generally below 250MJ per hour rated input.

Job specifications – instructions (oral, written, graphic) and may include any of the following: manufacturer instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.  Where job specifications are in conflict with applicable legislation, standards, and/or codes, such legislation, standards, and/or codes shall take precedence for the purpose of assessment.

Maintain may refer to all or any of – repair, upgrade, alter, remove, replace.

4	Credit for this unit standard does not entitle the candidate to legally perform certain electrical aspects of this work unless registered or supervised by a registered person under the provisions of the Electricity Act 1992.

5	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of the installation of electrically controlled gas appliances and equipment.

Performance criteria

- 1.1	Describe appropriate gas appliances, flues, and ventilation in accordance with job specifications and AS/NZS 5601:2013, Part 1 and Part 2.

- 1.2	Explain how the locations of gas appliances, flues, and ventilation are established in accordance with job specifications and AS/NZS 5601:2013, Part 1 and Part 2.

- 1.3	Explain limitations on electrical work that relate to gasfitters who are not electrically licensed.

- 1.4	Describe how to install gas appliances, flues, and ventilation.

- 1.5	Describe how to install flashing to ensure weather tightness in accordance with Clause E2 of the New Zealand Building Code and any related compliance documents.

- 1.6	Explain appropriate and required soundness tests in accordance with AS/NZS 5601:2013, Part 1 and Part 2.

- 1.7	Describe how to purge gas supply system in accordance with AS/NZS 5601:2013, Part 1.

- 1.8	Explain how to connect gas appliances and associated fittings to gas supply connection points.

Outcome 2

Demonstrate knowledge of commissioning electrically controlled gas appliances and equipment.

Performance criteria

- 2.1	Describe how gas appliance commissioning is carried out.

- 2.2	Describe how flues are tested in accordance with AS/NZS 5601:2013, Part 1.

Range	smoke test, draft gauge.

- 2.3	Describe how ventilation requirements are determined and calculated in accordance with AS/NZS 5601:2013, Part 1.

- 2.4	Identify and explain the post installation documentation to be completed for electrically controlled gas appliances and equipment.

Range	includes – information for gas certificates, guarantees, checklists;	may also include other company requirements such as checklists and photographs of completed work.

- 2.5	Explain the consumer instruction process to be followed on completion of installation and commissioning.

Outcome 3

Demonstrate knowledge of regulatory requirements, and underpinning concepts and principles, as applied to the installation and commissioning of electrically controlled gas appliances and equipment.

Performance criteria

- 3.1	Describe applicable sections of legislation, standards, and codes in terms of their application to the installation and commissioning of electrically controlled gas appliances and equipment.

- 3.2	Explain underpinning concepts and principles in terms of their application to the installation and commissioning of electrically controlled gas appliances and equipment.

Range	combustion, ventilation, energy efficiency.

| Replacement information | This unit standard and unit standard 30708 replaced unit standard 21893. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 November 2017 | 31 December 2028 |
| Review | 2 | 25 July 2024 | 31 December 2028 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.