	NZQA Expiring unit standard
	30708 version 2

	
	Page 1 of 2




	Title
	Install and commission electrically controlled gas appliances and equipment

	Level
	4
	Credits
	10


	Purpose
	This unit standard is for people who work in the gasfitting industry.

People credited with this unit standard are able to:

–
install electrically controlled gas appliances and equipment; and

–
commission electrically controlled gas appliances and equipment.


	Classification
	Plumbing, Gasfitting and Drainlaying > Gasfitting


	Available grade
	Achieved


Guidance Information

1
References

Building Act 2004;

Electricity Act 1992;

Gas Act 1992;

Gas (Safety and Measurement) Regulations 2010;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

The following standards, which are available at http://www.standards.govt.nz:

AS/NZS 5601.1:2013Gas installation,

AS/NZS 5601.2:2013 LP Gas installations in caravans and boats for non-propulsive purposes,

NZS 3604:1999 Timber Framed Buildings;
The following clauses, and any related compliance documents, which are available at https://www.building.govt.nz/:

New Zealand Building Code, Clause E2 External moisture,

New Zealand Building Code Clause G11 Gas as an Energy Source;

and all subsequent amendments and replacements.

2
Credit for this unit standard does not entitle the candidate to legally perform certain electrical aspects of this work unless registered or supervised by a registered person under the provisions of the Electricity Act 1992.

3
Range


Two gas cooking appliances which may include but are not limited to – domestic and commercial ovens, ranges, grills, fryers, baking ovens, steam ovens;


two space gas heating appliances;


two central gas heating appliances;


two gas water heating appliances which may include but are not limited to – continuous flow water heaters, storage water heaters, pool heaters, spa pool heaters, indirect heated water heaters, boilers.

4
This unit standard requires the application of theory as included in the Plumbers, Gasfitters, and Drainlayers Regulations 2010.
5
Definitions


Electrically controlled gas appliances – mains power supplied electrically controlled gas appliances generally below 250MJ per hour rated input.


Job specifications – instructions (oral, written, graphic) and may include any of the following: manufacturer instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.  Where job specifications are in conflict with applicable legislation, standards, and/or codes, such legislation, standards, and/or codes shall take precedence for the purpose of assessment.


Other services – any existing installed services.

6
Credit for this unit standard does not entitle the candidate to legally perform certain electrical aspects of this work unless registered or supervised by a registered person under the provisions of the Electricity Act 1992.

7
Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

8
All practical activities are to be carried out in a way that avoids harm to people and damage to property, other services, materials, tools, and equipment.

Outcomes and performance criteria
Outcome 1
Install electrically controlled gas appliances and equipment.

Performance criteria
1.1
Select appropriate gas appliances, flues, and ventilation in accordance with job specifications and AS/NZS 5601:2013, Part 1 and Part 2.

1.2
Establish location of gas appliances, flues, and ventilation in accordance with job specifications and AS/NZS 5601:2013. Part 1 and Part 2.

1.3
Install gas appliances, flues, and ventilation in accordance with job specifications.

1.4
As required, install flashing to ensure weather tightness in accordance with Clause E2 of the New Zealand Building Code and any related compliance documents.

1.5
Carry out soundness tests in accordance with AS/NZS 5601:2013, Part 1 and Part 2.

1.6
Purge gas supply system in accordance with AS/NZS 5601:2013, Part 1 and Part 2.

1.7
Connect gas appliances and associated fittings to gas supply connection points in accordance with job specifications.

Outcome 2
Commission electrically controlled gas appliances and equipment.

Performance criteria
2.1
Carry out gas appliance commissioning in accordance with manufacturer instructions.

2.2
Test flues in accordance with AS/NZS 5601:2013, Part 1 and Part 2.

Range
smoke test or draft gauge.

2.3
Determine and calculate ventilation requirements.

2.4
Complete post installation documentation in accordance with job requirements.

Range
may include but is not limited to – gas certificates, guarantees, checklists.

2.5
Instruct the consumer on the proper use of appliance on completion of installation and commissioning.

	Replacement information
	This unit standard and unit standard 30707 replaced unit standard 21893.


This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.
Status information and last date for assessment for superseded versions

	Process
	Version
	Date
	Last Date for Assessment

	Registration
	1
	23 November 2017
	31 December 2028

	Review
	2
	25 July 2024
	31 December 2028


	Consent and Moderation Requirements (CMR) reference
	0003


This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.
	Waihanga Ara Rau Construction and Infrastructure Workforce Development Council
SSB Code 6046
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2024



