| Title | Demonstrate knowledge of concepts and principles, and the properties of less frequently used materials for gasfitting |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | This unit standard is for people who work in the gasfitting industry. People credited with this unit standard are able to demonstrate knowledge of: – concepts and principles encountered in gasfitting work; – properties of less frequently used materials used in gasfitting; and – the applications and limitations of materials used in gasfitting. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Gasfitting |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Gas Act 1992;

Gas (Safety and Measurement) Regulations 2010;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

The following standard, which is available at http://www.standards.govt.nz:

AS/NZS5601.1:2013 Gas installation;

The following clause, and any related compliance documents, which are available at https://www.building.govt.nz/:

New Zealand Building Code Clause G11 Gas as an Energy Source;

and all subsequent amendments and replacements.

2	Range

Less frequently used materials include but are not limited to – cast iron, aluminium, polyvinylchloride (PVC), cross-linked polyethylene, brass/bronze.

3	Credit for this unit standard does not entitle the candidate to legally perform certain electrical aspects of this work unless registered or supervised by a registered person under the provisions of the Electricity Act 1992.

4	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of concepts and principles encountered in gasfitting work.

- Performance criteria

- 1.1	Explain underpinning concepts and principles in terms of their application to gasfitting.

Range	heat input and output, flame characteristics, burners, fire rated materials, flammability limits.

Outcome 2

Demonstrate knowledge of the properties of less frequently used materials used in gasfitting.

Performance criteria

2.1	Describe the physical properties of materials.

Range	strength, rigidity, malleability.

2.2	Describe the utility properties of materials.

Range	conduction of heat, response to temperature change, abrasion resistance, corrosion resistance, malleability.

2.3	Identify the capabilities and limitations of materials.

Outcome 3

Demonstrate knowledge of the applications and limitations of materials used in gasfitting.

Performance criteria

3.1	Describe the situations in which particular materials are used in a gasfitting project.

3.2	Describe the situations in which particular materials should not be used in a gasfitting project.

3.3	Describe compatibility considerations that arise when using components of different materials in conjunction with each other.

3.4	Describe considerations relating to protecting different materials used in gasfitting work.

Range	corrosion, UV resistance, buried pipework and fittings.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 November 2017 | 31 December 2028 |
| Review | 2 | 25 July 2024 | 31 December 2028 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.