| Title | Demonstrate knowledge of high consumption gas appliances and equipment |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 8 |

| Purpose | This unit standard is for people who work in the gasfitting industry. People credited with this unit standard are able to demonstrate knowledge of high consumption gas appliances and equipment. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Gasfitting |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the:

Building Act 2004;

Gas Act 1992;

Gas (Safety and Measurement) Regulations 2010;

New Zealand Building Code.

The following standards, which are available at http://www.standards.govt.nz:

AS/NZS 5601.1:2013 Gas installations – Part 1: General installations,

NZS 3604:2011 Timber-framed buildings,

NZS 5262:2003 Gas appliance safety.

Any new, amended or replacement referenced standards, codes of practice, guidelines, Building Code Acceptable Solutions and Verification Methods, or authority requirements affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

2	Definition

High consumption gas appliances and equipment refers to electronically and/or mechanically controlled gas appliances and equipment generally above 250MJ per hour rated input, and to one-off, or bespoke designs.

3	Candidates must hold a current limited certificate trainee authorisation or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

4	Range

High consumption gas appliances include but are not limited to – forced draught, induced draught, air blast, nozzle mix, atmospheric pre-aerated, low pressure and high pressure; atmospheric post-aerated.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of high consumption gas appliances and equipment.

Performance criteria

1.1	Identify applications of high consumption gas appliances and equipment.

Range	designed for bespoke applications, manufactured high consumption gas appliances, common components.

1.2	Explain the operation of components used in high consumption gas appliances and equipment.

Range	safety valves, burners, ignition systems, flue components, pressure control systems, flame failure systems, combustion air supply systems, control systems.

1.3	Explain the sequence of operation of high consumption gas appliances.

1.4	Identify components of high consumption gas appliances using symbols from AS/NZS 5601.1:2013.

Range	all valve-train components of a high consumption gas appliance.

1.5	Describe the application of NZS 5262:2003 in relation to high consumption gas appliances.

- 1.6	Describe the purpose and process of flue gas analysis to establish operational efficiency of high consumption gas appliances.

1.7	Interpret results of flue gas analysis to make adjustments to controls for high consumption gas appliances and their operational efficiency.

| Replacement information | This unit standard replaced unit standard 21869. |
| --- | --- |

| Planned review date | 31 December 2029 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 November 2017 | 31 December 2028 |
| Review | 2 | 25 July 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.